AAC.4.f — Laboratory tests not available in the organization are outsourced to organization(s) based on their quality assurance system.

AAC.4 Record 04 — Outsourced laboratory register

How to fill this in — column by column

Outsourced Laboratory: Name of the external laboratory.

Tests Outsourced: Which tests are sent there.

QA Credential Verified: Accreditation or equivalent QA evidence on file.

Verification Date: When this was last checked.

Next Review Due: When the next annual review is due.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

National Accreditation Board for Hospitals and Healthcare Providers. (2022). Standards for Small Healthcare Organisations (3rd ed.). NABH SHCO Accreditation Programme page. Access, Assessment and Care of Patients chapter, standard AAC.4.

National Accreditation Board for Testing and Calibration Laboratories. (2025). NABL 112B — Guidance Document: Medical Laboratories (Issue 01, Amdt. 01, 04-Nov-2025). Referenced as an external benchmark for laboratory quality-assurance programme design; SHCO accreditation does not itself require NABL accreditation.

What is this record, in plain terms? This record is the master list of every laboratory the organisation outsources to, with proof its quality assurance system was checked.

A real example of when you'd use this The Laboratory In-Charge maintains this and renews it annually. The worked example shows an NABL-accredited reference lab with its certificate on file.

Why does NABH ask for this? Outsourcing a test to a laboratory with no verified quality system passes the organisation's own quality responsibility to an unchecked third party — this record is the check.

| Outsourced Laboratory | Tests Outsourced | QA Credential Verified | Verification Date | Next Review Due |
| --- | --- | --- | --- | --- |
| XYZ Reference Laboratory | Hormone panel, tumour markers | NABL-accredited (certificate on file) | 10-Jan-2026 | 10-Jan-2027 |