AAC.4.g — The laboratory quality assurance programme is implemented.

AAC.4 Record 05 — Laboratory internal/external quality assurance log

How to fill this in — column by column

Test: The test under QA review.

QC Type: Internal QC, or external quality assessment/proficiency testing.

Date: The date this QC round was run.

Result (In/Out of Range): Whether the result was within the expected range.

Corrective Action If Out of Range: What was done if the result was out of range.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

National Accreditation Board for Hospitals and Healthcare Providers. (2022). Standards for Small Healthcare Organisations (3rd ed.). NABH SHCO Accreditation Programme page. Access, Assessment and Care of Patients chapter, standard AAC.4.

National Accreditation Board for Testing and Calibration Laboratories. (2025). NABL 112B — Guidance Document: Medical Laboratories (Issue 01, Amdt. 01, 04-Nov-2025). Referenced as an external benchmark for laboratory quality-assurance programme design; SHCO accreditation does not itself require NABL accreditation.

What is this record, in plain terms? This record tracks every internal and external quality-control round the lab runs, so the QA programme's results are visible, not just the programme's existence.

A real example of when you'd use this The Laboratory In-Charge logs each QC round. The worked example shows a routine in-range internal QC entry.

Why does NABH ask for this? A QA programme that produces no visible log of its own results cannot be shown to actually be running — this record is the evidence it is.

| Test | QC Type | Date | Result (In/Out of Range) | Corrective Action If Out of Range |
| --- | --- | --- | --- | --- |
| Blood Glucose | Internal QC | 15-Feb-2026 | In range | N/A |