AAC.6.a — The laboratory-safety programme is implemented.

AAC.6 Record 01 — Laboratory safety programme and incident log

How to fill this in — column by column

Date: Date of the check or incident.

Type: PPE compliance check, biosafety check, or safety incident.

Finding / Incident Description: What was found or what happened.

Action Taken: What was done in response.

Closed By / Date: Who closed this out and when.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

National Accreditation Board for Hospitals and Healthcare Providers. (2022). Standards for Small Healthcare Organisations (3rd ed.). NABH SHCO Accreditation Programme page. Access, Assessment and Care of Patients chapter, standard AAC.6.

Ministry of Environment, Forest and Climate Change, Government of India. (2016). Bio-Medical Waste Management Rules, 2016 (G.S.R. 343(E), 28-Mar-2016). Statutory requirement for segregation, handling and disposal of specimens and biomedical waste, administered by the Central Pollution Control Board.

What is this record, in plain terms? This record logs both routine safety-programme checks and any actual safety incident in the laboratory, through to closure.

A real example of when you'd use this The Laboratory In-Charge logs routine checks periodically and any incident immediately. The worked example shows a needlestick incident handled per protocol and closed within a day.

Why does NABH ask for this? A safety programme with no incident log cannot show whether it is actually catching and responding to real safety events, or only existing on paper.

| Date | Type | Finding / Incident Description | Action Taken | Closed By / Date |
| --- | --- | --- | --- | --- |
| 22-Feb-2026 | Safety incident | Needlestick during sample draw, no specimen involved | First aid given; source patient screened per protocol; incident reported | Laboratory In-Charge, 23-Feb-2026 |