«Hospital Name»

Medical Equipment Management

HCO Full Accreditation, 6th Edition — FMS.5.

# Document control

« » marks an editable default a small hospital can adopt. «________» is a true blank and must be completed before issue.

| Document No. | «HCO/FMS/POL/05» | Version | 2.0 |
| --- | --- | --- | --- |
| Issue No. | «01» | Review due | «one year from implementation» |
| Date created | «________» | Date of implementation | «________» |
| Prepared by | «Engineering In-Charge» Name «________» | Signature | «________» |
| Reviewed by | «Quality Coordinator» Name «________» | Signature | «________» |
| Approved by | «Medical Superintendent» Name «________» | Signature | «________» |

# Statement of intent

The organisation has a programme for medical equipment management.

# 1. Purpose

This policy says how «Hospital Name» meets NABH Hospitals 6th Edition standard FMS.5: The organisation has a programme for medical equipment management.

This policy covers all 8 requirements under this standard, listed in detail below.

Chapter intent (official Standards PDF): The standards guide the provision of a safe and secure environment for patients, their families, staff and visitors. The organisation attends to the facility, equipment, and internal physical environment for improving patient safety and quality of services by consistently addressing issues that may arise out of the same. The organisation does this through proactive risk analysis, safety rounds, training of staff on the enhancement of safety and management of disasters. To ensure this, the organisation conducts regular facility inspection rounds and takes the appropriate action to ensure safety. The organisation provides for safe water, electricity, medical gases and vacuum systems. The organisation has a programme for medical and utility equipment management. The organisation plans for fire and non-fire emergencies within the facilities. The organisation is a no-smoking area. The organisation safely manages hazardous materials. The organisation works towards measures on being energy efficient.

This policy covers medical equipment management specifically. Related duties — like patient assessment, clinical care, medication management, patient rights, infection control, quality and safety monitoring, or hospital governance — are covered in the hospital's other policies, not repeated here. Other FMS standards stay with their own policies.

Words marked «like this» are defaults. A blank marked «________» must be filled before issue.

# 2. Scope

This policy applies to engineering, biomedical, nursing and departmental leaders, and staff who run facilities, utilities, medical gases, fire and non-fire emergencies at «Hospital Name», including the «Engineering In-Charge», the «Medical Superintendent», departmental leaders and the Quality Coordinator.

This policy covers all 8 requirements under this standard, listed in detail below.

This policy covers medical equipment management specifically. Related duties — like patient assessment, clinical care, medication management, patient rights, infection control, quality and safety monitoring, or hospital governance — are covered in the hospital's other policies, not repeated here. Spell out abbreviations on first use in training materials. OE counts/levels/asterisks stay with the official portal Standards PDF. Method notes come from the Guidebook Interpretation paragraphs (scanned PDF md5 2c4489ee98de4ae9b49cba168ea9f42a).

# 3. Policy standards

«Hospital Name» implements FMS.5 so that the organisation has a programme for medical equipment management.

Staff follow written guidance, keep the records listed in the OE table, and escalate when stop-work conditions are met (if this policy includes a stop-work section).

# 4. Non-negotiable rules

1. Do not skip: The organisation plans for medical equipment in accordance with its services and strategic plan.

2. Do not skip: Medical equipment is inventoried and proper logs are maintained as required.

3. Do not skip: The documented operational and maintenance (preventive and breakdown) plan for medical equipment is...

4. Do not skip: Medical equipment is periodically inspected and calibrated for their proper functioning.

5. Do not skip: Qualified and trained personnel operate and maintain medical equipment.

6. Do not skip: Written guidance supports medical equipment replacement and disposal.

7. Do not skip: There is monitoring of medical equipment and medical devices related to adverse events, and compliance hazard...

8. Do not skip: Downtime for critical equipment breakdown is monitored from reporting to inspection and implementation of...

9. Do not bypass the stop-work authority in section 6 when the trigger conditions are met.

10. Staff who see a FMS.5 rule broken report it the same shift to the «Engineering In-Charge» or the «Medical Superintendent».

# 5. What we do

## 5.1 The organisation plans for medical equipment in accordance with its...

The organisation plans medical equipment to match services and the strategic plan, including future needs. Indian Public Health Standards are a reference for a minimum set. Selection, rental, update or upgrade is collaborative (end-user, management, finance, engineering, biomedical).

The «Engineering In-Charge» holds the current medical-equipment plan with the «Medical Superintendent».

Method note (from guidebook interpretation): This shall also take into consideration future requirements. The medical equipment shall be appropriate to its scope of services. A good reference for minimum medical equipment is the IPHS guideline. Medical equipment is selected, rented, updated or upgraded by a collaborative process. Collaborative process implies that during equipment selection, there is involvement of end- user, management, finance, engineering and biomedical departments. The organisation could define differential financial clearance in accordance with the policy. For example, the purchase of BP apparatus can be made by the departmental head.

## 5.2 Medical equipment is inventoried and proper logs are maintained as...

Medical equipment is inventoried and logs are maintained. Items are classified by medical-device risk. Each has a unique identifier, including rental and demonstration items. Factory test and conformance certificates are kept.

An in-use device with no identity is incomplete under this element.

Method note (from guidebook interpretation): Medical equipment and medical devices will be classified as per the risk defined by medical devices regulations. A unique identifier is provided for each equipment. This includes equipment on a rental basis and equipment kept for demonstration purpose. The relevant quality conformance certificates/marks along with manufacturer factory test certificate need to be retained as part of the documentation for all equipment.

## 5.3 The documented operational and maintenance (preventive and breakdown)...

The documented operational and maintenance (preventive and breakdown) plan for medical equipment is implemented: operator training, daily operating checks, preventive-maintenance tracker, and breakdown response including nights and weekends.

Using equipment with no implemented plan is a stop-work trigger (section 6). This is a CORE asterisked element.

Method note (from guidebook interpretation): The operator is trained in handling the medical equipment. The operational plan must assist the operator in operating the medical equipment daily. The original equipment manual is a good source for this. In case this is not available, the organisation shall develop the operational plan for the concerned equipment. The operational plan of medical equipment includes evaluation of safe usage of equipment like validation with respect to the instruction manual, user training on equipment, operational check of equipment and verification of set parameter. The maintenance plan includes periodic checks, execution of timely preventive maintenance, and response to any breakdown issues including at i night and weekends. There shall be a planned preventive maintenance tracker.

This objective element is asterisked in the official Standards PDF — documentation of the process is required.

This is a CORE objective element — non-compliance is not acceptable for accreditation.

## 5.4 Medical equipment is periodically inspected and calibrated for their...

Medical equipment that measures is inspected and calibrated on a weekly, monthly or annual schedule as the manufacturer and this hospital define, in-house or outsourced, with traceability. Conformance is checked before commissioning and again after repair.

A measuring device past its calibration due date is a stop-work trigger (section 6).

Method note (from guidebook interpretation): The organisation has weekly/monthly/annual schedules of inspection and calibration of equipment, which involve measurement, appropriately. The organisation either calibrates the equipment in-house or outsources, maintaining traceability to national or international or manufacturer's guidelines / standards. The organisation shall ensure that calibration and conformance testing of the equipment has been done before commissioning. Medical equipment is re-calibrated after its repairs/breakdown.

## 5.5 Qualified and trained personnel operate and maintain medical equipment

Qualified and trained personnel operate and maintain medical equipment. Operators are trained for the devices they use (for example blood-gas analyser, electrocardiograph, syringe pump). Maintenance is by a biomedical engineer or technologist, or an instrumentation engineer or technologist, with relevant training and experience.

Method note (from guidebook interpretation): The operator of the medical equipment is trained to use medical equipment safely and effectively. For example Nurse trained to use Blood gas analyser, ECG machine and syringe pump etc. Maintenance of medical equipment shall be done by a bio-medical engineer/technologist or instrumentation engineer/technologist with relevant training and experience.

## 5.6 Written guidance supports medical equipment replacement and disposal

Written guidance supports medical equipment replacement and disposal. Condemnation is systematic and recorded. This is an asterisked element.

Method note (from guidebook interpretation): The organisation shall plan for this keeping in mind the strategic plans, upgrade/update path and the equipment log. The organisation shall condemn (dispose of) equipment in a systematic manner.

This objective element is asterisked in the official Standards PDF — documentation of the process is required.

## 5.7 There is monitoring of medical equipment and medical devices related to...

Medical equipment and devices are monitored for adverse events. Hazard notices and recalls from the manufacturer or regulator are acted on at once; the device is not returned to clinical use until the issue is closed. The Guidebook names Gazette of India GSR 78(E) 2023 / Medical Devices Rules 2023 and participation in the Materiovigilance Programme of India. MOM.10 remains the home of medication-supply recall; this element is equipment and devices.

An open recall left in use is a stop-work trigger (section 6). This is an asterisked element.

Method note (from guidebook interpretation): The monitoring shall include medical device-related adverse events. All statutory requirements and procedures shall be adhered to (Gazette of India GSR 78(E) 2023. Medical device rules 2023). The organisation shall participate in Materio-vigilance programme of India (MvPI). Recalls are based on letters/hazard notice issued from the manufacturer and or regulatory authorities. This may not be a routine occurrence, but whenever hospital authorities receive or become aware of such recalls, it shall be immediately acted upon, and the said medical equipment and the medical device shall not be put into further clinical use till the issue is resolved. Refer to MOM.10.e.

This objective element is asterisked in the official Standards PDF — documentation of the process is required.

## 5.8 Downtime for critical equipment breakdown is monitored from reporting...

Downtime for critical medical-equipment breakdown is monitored from reporting to inspection and corrective action. At a minimum the critical list includes ventilators, X-ray, magnetic resonance imaging, catheterisation laboratory, computed tomography, anaesthesia machines, monitors, laboratory and ultrasound — especially where there is no alternative. The complaint register works as in FMS.4.g.

Portal wording uses “breakdown” (singular); FMS.4.g uses “breakdowns”. Each is kept as printed.

Method note (from guidebook interpretation): The organisation shall define critical medical equipment. At a minimum, this shall include ventilators, X- Ray, MRI, Cath lab, CT scan, anaesthesia machines, monitors, laboratory, ultrasound etc. and especially where there is no alternative available. A complaint attendance register is to be maintained (physical or electronic) to indicate the date and time of receipt of the complaint, allotment of job and completion of the job. Completion of the job shall always be ratified by the user department. The start of downtime shall be the time when the complaint was lodged and the end of the downtime shall be the time at which completion of the job was ratified by the user department.

# 6. Stop-work authority

Do not use medical equipment that is past the due date for preventive maintenance or calibration, or that is under an open manufacturer or regulatory recall or hazard notice.

Stop-work applies to putting that equipment into clinical use. Immediate life-saving care uses the next safe alternative and is documented.

The person who stops tells the «Engineering In-Charge» and the «Medical Superintendent» the same shift. Refusing overdue or recalled equipment is not a disciplinary matter.

# 7. Governance and responsibility

Medical Superintendent

- Accountable that FMS.5 is resourced and followed.

Engineering In-Charge

- Owns day-to-day implementation and records for this standard.

Quality Coordinator

- Audits this policy «quarterly»; holds training acknowledgements.

departmental leaders

- Run the department-level duties this standard names.

# 8. Quality monitoring (RCA → CAPA)

The Quality Coordinator audits this policy «quarterly». The audit reviews:

- Records for a sample of this standard's objective elements, checked against the What-we-do steps.

- Documentary evidence is on file for each asterisked objective element in the sample.

- CORE objective elements show no critical gaps in the sample.

- Stop-work events (if any) are logged with outcome.

Root-cause analysis is required when a gap found in this audit remains open beyond «90 days».

This policy is reviewed «annually», and sooner after a related facility change, utility failure, equipment recall or fire-plan change.

# 9. Training and staff acknowledgement

Staff covered by this policy are trained at induction and «once a year» after that. Training covers the What-we-do steps, non-negotiables and stop-work (if present).

Staff acknowledgement

I have read this Medical Equipment Management policy of «Hospital Name». I will follow the processes described.

Name: ___________________________    Designation: ___________________________

Department / floor: ____________________    Date: ____________

Signature: ___________________________

(One row per staff member. The Quality Coordinator holds signed acknowledgements with the induction record.)

| Name | Designation | Department / floor | Date | Signature |
| --- | --- | --- | --- | --- |

The Quality Coordinator holds signed acknowledgements with the induction record.

# 10. References

- National Accreditation Board for Hospitals and Healthcare Providers (NABH), Accreditation Standards for Hospitals, 6th Edition (January 2025) — Facility Management and Safety, standard FMS.5. Official portal PDF (OE text, counts, levels, asterisks).

- NABH Guidebook to Accreditation Standards for Hospitals, 6th Edition — FMS.5 interpretations (source PDF md5 2c4489ee98de4ae9b49cba168ea9f42a; OCR policies/source/hco6_fms_guidebook_ocr.txt).

- Internal documents of «Hospital Name»: facility-inspection records, as-built drawings, utility and medical-equipment logs, medical-gas records, fire and non-fire plans named for FMS.5.

# 11. Distribution

Medical Superintendent; Engineering In-Charge; Quality Coordinator; departmental leaders; staff covered by FMS.5

# 12. Abbreviations

AHU — Air Handling Unit
CAPA — Corrective and Preventive Action
CORE — Core objective element (NABH)
DG — Diesel Generator
ELV — Extra Low Voltage
FMS — Facility Management and Safety (NABH Hospitals 6th Edition chapter)
HCO — Hospital (Full Accreditation programme under NABH Hospitals 6th Edition)
HVAC — Heating, Ventilation and Air Conditioning
MSDS — Material Safety Data Sheet
NABH — National Accreditation Board for Hospitals and Healthcare Providers
OE — Objective Element
PPE — Personal Protective Equipment
RO — Reverse Osmosis
STP — Sewage Treatment Plant

# 13. Traceability to NABH HCO Full Accreditation 6th Edition FMS.5

This table is an index. It is not how the policy is organised.

| OE | Requirement | Where this policy addresses it | Responsible |
| --- | --- | --- | --- |
| FMS.5.a | The organisation plans for medical equipment in accordance with its services and strategic plan. | Section 3; 5.1; Section 6 Stop-work | Engineering In-Charge |
| FMS.5.b | Medical equipment is inventoried and proper logs are maintained as required. | Section 3; 5.2; Section 6 Stop-work | Engineering In-Charge |
| FMS.5.c | The documented operational and maintenance (preventive and breakdown) plan for medical equipment is implemented. | Section 3; 5.3; Section 6 Stop-work | Engineering In-Charge |
| FMS.5.d | Medical equipment is periodically inspected and calibrated for their proper functioning. | Section 3; 5.4; Section 6 Stop-work | Engineering In-Charge |
| FMS.5.e | Qualified and trained personnel operate and maintain medical equipment. | Section 3; 5.5; Section 6 Stop-work | Engineering In-Charge |
| FMS.5.f | Written guidance supports medical equipment replacement and disposal. | Section 3; 5.6; Section 6 Stop-work | Engineering In-Charge |
| FMS.5.g | There is monitoring of medical equipment and medical devices related to adverse events, and compliance hazard notices on recalls. | Section 3; 5.7; Section 6 Stop-work | Engineering In-Charge |
| FMS.5.h | Downtime for critical equipment breakdown is monitored from reporting to inspection and implementation of corrective actions. | Section 3; 5.8; Section 6 Stop-work | Engineering In-Charge |

# 14. Required Records / Evidence Checklist

Records the hospital holds under this policy, listed by objective element.

## FMS.5.a — The organisation plans for medical equipment in accordance with its services and strategic plan.

- Written medical-equipment plan matched to services and the strategic plan, referencing the Indian Public Health Standards minimum set.

- Collaborative-selection record (end-user, management, finance, engineering, biomedical).

- Periodic review record of the plan.

## FMS.5.b — Medical equipment is inventoried and proper logs are maintained as required.

- Medical-equipment inventory classified by device risk, with a unique identifier including rental and demonstration items.

- Factory test or conformance certificate on file.

- In-use device check confirming no device without an identity.

## FMS.5.c — The documented operational and maintenance (preventive and breakdown) plan for medical equipment is implemented.

- Documented operational and maintenance (preventive and breakdown) plan for medical equipment.

- Operator-training record and daily operating-check log.

- Breakdown-response record, including nights and weekends.

## FMS.5.d — Medical equipment is periodically inspected and calibrated for their proper functioning.

- Calibration schedule (weekly, monthly or annual as the manufacturer defines) with traceability.

- Pre-commissioning and post-repair conformance-check record.

- Calibration-due tracking log confirming no overdue device in clinical use.

## FMS.5.e — Qualified and trained personnel operate and maintain medical equipment.

- Operator-training record per device type (for example blood-gas analyser, electrocardiograph, syringe pump).

- Biomedical or instrumentation engineer/technologist qualification record for maintenance staff.

- Training-currency check for operators and maintainers.

## FMS.5.f — Written guidance supports medical equipment replacement and disposal.

- Written medical-equipment replacement and disposal guidance.

- Condemnation record, systematically applied.

- Disposal log.

## FMS.5.g — There is monitoring of medical equipment and medical devices related to adverse events, and compliance hazard notices on recalls.

- Adverse-event and hazard-notice/recall log for medical equipment and devices.

- Record showing a recalled device was withdrawn from clinical use until the issue closed.

- Materiovigilance Programme of India participation record, where applicable.

## FMS.5.h — Downtime for critical equipment breakdown is monitored from reporting to inspection and implementation of corrective actions.

- Complaint register for critical medical equipment (ventilators, X-ray, MRI, cath lab, CT, anaesthesia machines, monitors, laboratory, ultrasound).

- Downtime-duration record from reporting to corrective action.

- Alternative-equipment-use record where no backup device exists.

# Disclaimer

This document is a template prepared for the guidance of «Hospital Name» and must be reviewed, adapted and formally approved by «Hospital Name» before use. Every entry marked [Hospital to define] must be replaced with the hospital's own decision; a document issued with those markers left in place is not an approved policy.

Several requirements in this document are statutory rather than advisory — in particular those arising under the Medical Devices Rules as cited in NABH FMS.5 (Gazette of India GSR 78(E) 2023) including adverse-event monitoring, hazard notices and recalls. Statutory requirements change, and State authorities impose additional or stricter conditions. «Hospital Name» is responsible for verifying the current text of any rule cited here and the conditions attached to its own authorisations and licences; this document does not constitute legal advice.

The clinical and technical content reflects recognised national and international guidance current at the date of preparation. «Hospital Name» remains responsible for verifying that it is current and consistent with the edition of the accreditation standard against which it is being assessed.

This document is not issued by, endorsed by, or affiliated with NABH, the World Health Organization, the National Centre for Disease Control, the Food Safety and Standards Authority of India, any Pollution Control Board, or any other body named in it. Wording is original; no text has been reproduced from the standards, rules or guidelines referenced.