AAC.9.i — Safety device testing (Commitment*)

AAC.9 Record 16 — Lead Apron/Shield Periodic Test Record

| Document No. | [Hospital to define] | Version | 1.0 |
| --- | --- | --- | --- |
| Effective Date | ________ | Review Frequency | Per parent SOP/Policy |

Periodic test images and results for lead aprons and shields (X-ray/fluoroscopy/CT scout view for cracks).

Yellow row = worked example. Delete or overwrite it before filing. Add rows as needed.

| Item | Test Date | Result (Pass/Fail) | Action if Failed |
| --- | --- | --- | --- |
| Lead apron #4 | 10-Jan-2026 | Fail — crack detected | Removed from use, replacement ordered |