Standard Operating Procedure

Safe and Secure Environment

«Hospital Name» — Supports FMS.1

Why does this SOP exist? (read this first if you're new) This policy sets out how «Hospital Name» keeps the facility safe and secure. It covers: Installing and inspecting patient-safety devices and infrastructure Providing accessible facilities for differently-abled persons Conducting monthly safety-inspection rounds Documenting inspection findings and acting on them Carrying out risk assessments before any construction, renovation or expansion of the facility This policy covers safe and secure environment specifically. Related duties — like patient assessment, clinical care, medication management, patient rights, infection control, quality and safety monitoring, or hospital governance — are covered in the hospital's other policies, not repeated here. Words marked like this are defaults. A blank marked ________ must be filled before issue. If you're new to this SOP, the short version is: follow the numbered steps below in order — they exist because skipping one of them is exactly how a facility hazard goes unnoticed until it hurts someone.

| SOP No. | [Hospital to define] | Version | 1.0 |
| --- | --- | --- | --- |
| Effective Date | ________ | Review Frequency | Annual, or on change |
| Prepared By | Quality Coordinator Name: ________ Signature: ________ |  |  |
| Approved By | Medical Superintendent Name: ________ Signature: ________ |  |  |

# 1. Purpose

This policy sets out how «Hospital Name» keeps the facility safe and secure. It covers: Installing and inspecting patient-safety devices and infrastructure Providing accessible facilities for differently-abled persons Conducting monthly safety-inspection rounds Documenting inspection findings and acting on them Carrying out risk assessments before any construction, renovation or expansion of the facility This policy covers safe and secure environment specifically. Related duties — like patient assessment, clinical care, medication management, patient rights, infection control, quality and safety monitoring, or hospital governance — are covered in the hospital's other policies, not repeated here. Words marked like this are defaults. A blank marked ________ must be filled before issue.

# 2. Scope

This policy applies to «Hospital Name» staff involved in facilities, utilities, medical gases, and fire or non-fire emergencies, including: Engineering, biomedical, nursing and departmental leaders The Engineering In-Charge The Medical Superintendent Departmental leaders The Quality Coordinator This policy covers safe and secure environment specifically. Related duties are covered in the hospital's other policies, not repeated here, including: Patient assessment Clinical care Medication management Patient rights Infection control Quality and safety monitoring Hospital governance

# 3. Responsibility

Facility Manager / Engineering In-Charge: owns the equipment, inventories, inspection schedules and maintenance plans this policy requires, and keeps the required records current.

Medical Superintendent: escalation point for any gap not being closed, and signs off risk assessments before major facility work.

Quality Coordinator: audits this policy periodically, checks records against the steps below, and flags gaps for corrective action.

Department Heads / Nursing In-charges: report facility hazards or equipment issues in their own area promptly and support inspection rounds.

# 4. Plain-Language Glossary

If a word below is unfamiliar, this is what it means in this SOP:

NFPA: The National Fire Protection Association — a US-based body whose fire and life-safety codes (like NFPA 101 and NFPA 99) are widely used worldwide, including as a reference standard in Indian hospital fire-safety planning.

National Building Code (NBC): India's national reference code (published by the Bureau of Indian Standards) covering building design, including fire and life safety.

# 5. Procedure

## 5.1 Patient safety devices and infrastructure are installed across the organisation and inspected periodically.

Why this step matters: A grab bar or bed rail that was fitted once and never checked again is exactly the kind of thing that quietly fails and causes a real fall — this record proves the devices are actually there and someone actually checked them. This is a CORE requirement — NABH treats it as non-negotiable, not aspirational.

1. Install the basic patient-safety devices and infrastructure every care area needs — grab bars, bed rails, call bells, corridor handrails, fire-safety devices — matched to the risk of that specific area, following the life-safety and egress principles set out in NFPA 101.

2. Inspect every device or area on a fixed schedule and record the last-inspection date against each one, so a gap is visible at a glance rather than buried in memory.

3. Where an in-use care area is found missing a device it should have, escalate it the same day rather than waiting for the next round. (Records 1–3)

Technical source(s) for these steps:

National Fire Protection Association — NFPA 101, Life Safety Code.

## 5.2 The organisation has facilities for the differently-abled

Why this step matters: A hospital that hasn't actually provided step-free access, or a genuine alternative, is turning away the very patients who most need care — this record proves the provision is real, not a policy line. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

1. Provide a wheelchair-accessible entrance and an accessible toilet, matched to the space and ramp/door-width standards in the Harmonized Guidelines for Standards of Accessibility (Government of India).

2. Where a specific area genuinely cannot be made step-free (an old structural constraint), document a real alternative arrangement for a wheelchair user to reach the equivalent service — not just a note that the gap exists.

3. Keep the exact regulatory reference used for each accessibility provision made, so it's traceable to a real standard rather than a guess at what 'accessible' means. (Records 4–6)

Technical source(s) for these steps:

Office of the Chief Commissioner for Persons with Disabilities, Government of India — Harmonized Guidelines and Space Standards for Barrier-Free Built Environment.

## 5.3 Facility inspection rounds to ensure safety are conducted at least once a month.

Why this step matters: A hazard that's never actually inspected for is a hazard nobody is managing — this record proves the round happened this month, not just that a schedule for it exists. This is a CORE requirement — NABH treats it as non-negotiable, not aspirational.

1. Set a fixed monthly calendar for facility-safety inspection rounds and follow it — a round that happens 'when someone has time' quietly stops happening.

2. Use a written checklist for the round so the same items are checked every time, not whatever the inspector happens to remember.

3. Specifically identify and separately track any restricted or security-risk area on the round — these need checking even when nobody has raised a concern about them recently. (Records 7–9)

## 5.4 Inspection reports of facility rounds are documented and corrective and preventive measures are undertaken.

Why this step matters: A safety finding that's written down and never acted on is worse than no finding at all, because everyone assumes it's been fixed — this record proves the safety committee actually reviewed it and closed it. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

1. Write up each round as a dated inspection report, not just a completed checklist with ticks and no narrative.

2. For every finding, open a corrective-and-preventive-action record and follow it through to closure — a finding with no action record is a finding that was noticed and then dropped.

3. Bring the reports to the safety committee for review, and keep that review on record. (Records 10–12)

## 5.5 Before construction, renovation and expansion of the existing hospital, risk-assessment is carried out.

Why this step matters: Construction noise, vibration or dust spreading into a live ward without a risk assessment first is exactly how patients get harmed by work that was meant to make things better — this record proves the assessment happened before, not after, work started. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

1. Before any construction, renovation or expansion work starts, carry out and date a risk assessment covering noise, vibration and infection-prevention impact on nearby patient-care areas, following the structural and fire-life-safety planning principles in the National Building Code of India, Part 4.

2. Get the Engineering In-Charge's sign-off on that risk assessment before work actually begins — not partway through.

3. Cross-reference the construction-phase infection-control measures being applied alongside this (covered under the hospital's IPC policy) so the two aren't managed as unconnected activities. (Records 13–15)

Technical source(s) for these steps:

Bureau of Indian Standards — National Building Code of India 2016, Part 4: Fire and Life Safety.

# 6. Records

This SOP produces and maintains Records 1 through 15 (see the FMS.1 Records folder).

# 7. Related Documents

Policy on Safe and Secure Environment (HCO/FMS/POL/01) — this policy

Required Records — FMS.1 (see FMS.1 Records folder)

# 8. Where This SOP's Requirements Come From (Verified Sources)

National Accreditation Board for Hospitals and Healthcare Providers. (2025). NABH accreditation standards for hospitals (6th ed.), FMS.1. ISBN 978-81-965264-9-8. https://portal.nabh.co/images/Standards/NABH%20Hospital%20Accreditation%20Standard%206th%20Edition%20January%202025.pdf

# 9. Review

This SOP is reviewed at least annually by the Quality Coordinator together with the Facility Manager, and immediately if an incident, audit or drill finds it isn't working as written.