Standard Operating Procedure

Fire and Non-Fire Emergencies

«Hospital Name» — Supports FMS.7

Why does this SOP exist? (read this first if you're new) This policy sets out how «Hospital Name» plans for fire and non-fire emergencies. It covers: Fire detection, abatement, containment and evacuation Non-fire emergency identification and management Displayed exit plans Regular mock drills Maintenance of fire-related equipment and infrastructure This policy covers fire and non-fire emergencies specifically. Related duties — like patient assessment, clinical care, medication management, patient rights, infection control, quality and safety monitoring, or hospital governance — are covered in the hospital's other policies, not repeated here. Words marked like this are defaults. A blank marked ________ must be filled before issue. If you're new to this SOP, the short version is: follow the numbered steps below in order — they exist because skipping one of them is exactly how a facility hazard goes unnoticed until it hurts someone.

| SOP No. | [Hospital to define] | Version | 1.0 |
| --- | --- | --- | --- |
| Effective Date | ________ | Review Frequency | Annual, or on change |
| Prepared By | Quality Coordinator Name: ________ Signature: ________ |  |  |
| Approved By | Medical Superintendent Name: ________ Signature: ________ |  |  |

# 1. Purpose

This policy sets out how «Hospital Name» plans for fire and non-fire emergencies. It covers: Fire detection, abatement, containment and evacuation Non-fire emergency identification and management Displayed exit plans Regular mock drills Maintenance of fire-related equipment and infrastructure This policy covers fire and non-fire emergencies specifically. Related duties — like patient assessment, clinical care, medication management, patient rights, infection control, quality and safety monitoring, or hospital governance — are covered in the hospital's other policies, not repeated here. Words marked like this are defaults. A blank marked ________ must be filled before issue.

# 2. Scope

This policy applies to «Hospital Name» staff involved in facilities, utilities, medical gases, and fire or non-fire emergencies, including: Engineering, biomedical, nursing and departmental leaders The Engineering In-Charge The Medical Superintendent Departmental leaders The Quality Coordinator This policy covers fire and non-fire emergencies specifically. Related duties are covered in the hospital's other policies, not repeated here, including: Patient assessment Clinical care Medication management Patient rights Infection control Quality and safety monitoring Hospital governance

# 3. Responsibility

Facility Manager / Engineering In-Charge: owns the equipment, inventories, inspection schedules and maintenance plans this policy requires, and keeps the required records current.

Medical Superintendent: escalation point for any gap not being closed, and signs off risk assessments before major facility work.

Quality Coordinator: audits this policy periodically, checks records against the steps below, and flags gaps for corrective action.

Department Heads / Nursing In-charges: report facility hazards or equipment issues in their own area promptly and support inspection rounds.

# 4. Plain-Language Glossary

If a word below is unfamiliar, this is what it means in this SOP:

NFPA: The National Fire Protection Association — a US-based body whose fire and life-safety codes (like NFPA 101 and NFPA 99) are widely used worldwide, including as a reference standard in Indian hospital fire-safety planning.

National Building Code (NBC): India's national reference code (published by the Bureau of Indian Standards) covering building design, including fire and life safety.

NDMA: The National Disaster Management Authority — India's central body for disaster-preparedness guidelines that a hospital's non-fire emergency plan should follow.

# 5. Procedure

## 5.1 The organisation has plans and provisions for early detection, abatement, containment of fire and evacuation in the event of fire emergencies.

Why this step matters: A fire plan that's never actually rehearsed usually fails at exactly the moment it's needed — this record proves it was tested for real, with a genuine finding from the exercise, not just written and filed. This is a CORE requirement — NABH treats it as non-negotiable, not aspirational.

1. Write a fire-safety plan covering detection, abatement, containment and evacuation, naming the qualified personnel responsible and matching the current NABH minimum fire-safety measures and the core life-safety principles in NFPA 101.

2. Schedule and hold mock drills, including table-top exercises, on a fixed calendar rather than only after an incident prompts one.

3. Display the evacuation plan and check emergency illumination periodically, keeping that check on record. (Records 1–3)

Technical source(s) for these steps:

National Fire Protection Association — NFPA 101, Life Safety Code.

## 5.2 The organisation has plans and provisions for identification, and management of non-fire emergencies.

Why this step matters: A hospital with no real plan for an earthquake, flood or violent incident is deciding what to do only after it's already happening — this record proves the plan, and the liaison with real outside authorities, actually exists. This is a CORE requirement — NABH treats it as non-negotiable, not aspirational.

1. Write a non-fire-emergency plan covering the real hazards relevant to this hospital — earthquake, flood, toxic leak, structural collapse, utility failure, boiler burst, violence, stray animals — rather than a generic template.

2. Base the plan on the actual NDMA, State or District disaster-management guideline that applies to this location, and name which one was used.

3. Maintain a liaison record with the local civil, police and fire authorities, so contact during a real emergency isn't the first time anyone has spoken to them. (Records 4–6)

## 5.3 The organisation has a documented and displayed exit plan in case of fire and non-fire emergencies.

Why this step matters: An exit plan that isn't actually displayed, or a fire door that doesn't actually open the way it's supposed to, is discovered only during a real emergency — this record proves it was genuinely checked in place. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

1. Display the exit plan on every floor, near lifts, and inside enclosed rooms and laboratories — not only at the main entrance.

2. Check that exit doors actually open or use a push-bar mechanism as intended, and reference the fire-service or National Building Code signage standard used for exit signage.

3. Where refuge areas exist, keep their signage and maintenance on record too. (Records 7–9)

Technical source(s) for these steps:

Bureau of Indian Standards — National Building Code of India 2016, Part 4: Fire and Life Safety.

## 5.4 Mock drills are held at least twice a year

Why this step matters: A plan that's never actually rehearsed with a real drill, debriefed and corrected, usually fails at exactly the moment it's needed — this record is the proof it was tested for real, with simulated (never real) patients. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

1. Hold at least two mock drills a year, covering fire and the specific non-fire events named in the emergency plan — following the drill-frequency discipline NFPA 101 sets out for life-safety preparedness.

2. Debrief every drill and log corrective action for any variation found — a drill that surfaces a problem but produces no fix has only half worked.

3. Confirm and record that drills used simulated patients, never real ones, for safety. (Records 10–12)

Technical source(s) for these steps:

National Fire Protection Association — NFPA 101, Life Safety Code.

## 5.5 There is a maintenance plan for fire-related equipment and infrastructure.

Why this step matters: A fire extinguisher or hydrant system that was never actually serviced is discovered empty only during a real fire — this record proves the real service happened, following the manufacturer's and statutory recommendations. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

1. Write a maintenance plan for fire-related equipment and infrastructure — extinguishers, hydrants, sprinklers, fire alarm panels, smoke detectors — following NFPA 25's inspection, testing and maintenance schedule for water-based fire-protection systems.

2. Log every inspection, test, and both preventive and breakdown maintenance activity, following manufacturer and statutory recommendations.

3. Keep evidence of the last service for every piece of fire equipment on file, not just a sticker on the extinguisher. (Records 13–15)

Technical source(s) for these steps:

National Fire Protection Association — NFPA 25, Standard for the Inspection, Testing, and Maintenance of Water-Based Fire Protection Systems.

# 6. Records

This SOP produces and maintains Records 1 through 15 (see the FMS.7 Records folder).

# 7. Related Documents

Policy on Fire and Non-Fire Emergencies (HCO/FMS/POL/07) — this policy

Required Records — FMS.7 (see FMS.7 Records folder)

# 8. Where This SOP's Requirements Come From (Verified Sources)

National Accreditation Board for Hospitals and Healthcare Providers. (2025). NABH accreditation standards for hospitals (6th ed.), FMS.7. ISBN 978-81-965264-9-8. https://portal.nabh.co/images/Standards/NABH%20Hospital%20Accreditation%20Standard%206th%20Edition%20January%202025.pdf

# 9. Review

This SOP is reviewed at least annually by the Quality Coordinator together with the Facility Manager, and immediately if an incident, audit or drill finds it isn't working as written.