«Hospital Name»

Medical Gases, Vacuum and Compressed Air

HCO Full Accreditation, 6th Edition — FMS.6.

# Document control

« » marks an editable default a small hospital can adopt. «________» is a true blank and must be completed before issue.

| Document No. | «HCO/FMS/POL/06» | Version | 2.0 |
| --- | --- | --- | --- |
| Issue No. | «01» | Review due | «one year from implementation» |
| Date created | «________» | Date of implementation | «________» |
| Prepared by | «Engineering In-Charge» Name «________» | Signature | «________» |
| Reviewed by | «Quality Coordinator» Name «________» | Signature | «________» |
| Approved by | «Medical Superintendent» Name «________» | Signature | «________» |

# Statement of intent

The organisation has a programme for medical gases, vacuum and compressed air.

# 1. Purpose

This policy says how «Hospital Name» meets NABH Hospitals 6th Edition standard FMS.6: The organisation has a programme for medical gases, vacuum and compressed air.

This policy covers all 5 requirements under this standard, listed in detail below.

Chapter intent (official Standards PDF): The standards guide the provision of a safe and secure environment for patients, their families, staff and visitors. The organisation attends to the facility, equipment, and internal physical environment for improving patient safety and quality of services by consistently addressing issues that may arise out of the same. The organisation does this through proactive risk analysis, safety rounds, training of staff on the enhancement of safety and management of disasters. To ensure this, the organisation conducts regular facility inspection rounds and takes the appropriate action to ensure safety. The organisation provides for safe water, electricity, medical gases and vacuum systems. The organisation has a programme for medical and utility equipment management. The organisation plans for fire and non-fire emergencies within the facilities. The organisation is a no-smoking area. The organisation safely manages hazardous materials. The organisation works towards measures on being energy efficient.

This policy covers medical gases, vacuum and compressed air specifically. Related duties — like patient assessment, clinical care, medication management, patient rights, infection control, quality and safety monitoring, or hospital governance — are covered in the hospital's other policies, not repeated here. Other FMS standards stay with their own policies.

Words marked «like this» are defaults. A blank marked «________» must be filled before issue.

# 2. Scope

This policy applies to engineering, biomedical, nursing and departmental leaders, and staff who run facilities, utilities, medical gases, fire and non-fire emergencies at «Hospital Name», including the «Engineering In-Charge», the «Medical Superintendent», departmental leaders and the Quality Coordinator.

This policy covers all 5 requirements under this standard, listed in detail below.

This policy covers medical gases, vacuum and compressed air specifically. Related duties — like patient assessment, clinical care, medication management, patient rights, infection control, quality and safety monitoring, or hospital governance — are covered in the hospital's other policies, not repeated here. Spell out abbreviations on first use in training materials. OE counts/levels/asterisks stay with the official portal Standards PDF. Method notes come from the Guidebook Interpretation paragraphs (scanned PDF md5 2c4489ee98de4ae9b49cba168ea9f42a).

# 3. Policy standards

«Hospital Name» implements FMS.6 so that the organisation has a programme for medical gases, vacuum and compressed air.

Staff follow written guidance, keep the records listed in the OE table, and escalate when stop-work conditions are met (if this policy includes a stop-work section).

# 4. Non-negotiable rules

1. Do not skip: Written guidance governs the implementation of procurement, handling, storage, distribution, usage and...

2. Do not skip: Medical gases are handled, stored, distributed and used in a safe manner.

3. Do not skip: There is an operational, inspection, testing and maintenance plan for piped medical gas, compressed air and...

4. Do not skip: Alternate sources for medical gases, vacuum and compressed air are provided for, in case of failure.

5. Do not skip: The organisation regularly tests the functioning of these alternate sources.

6. Do not bypass the stop-work authority in section 6 when the trigger conditions are met.

7. Staff who see a FMS.6 rule broken report it the same shift to the «Engineering In-Charge» or the «Medical Superintendent».

# 5. What we do

## 5.1 Written guidance governs the implementation of procurement, handling...

Written guidance governs procurement, handling, storage, distribution, usage and replenishment of all medical gases used here, including colour coding and full/empty signage. HTM 02-01 or the National Fire Protection Association medical-gas handbook is a reference.

The Guidebook names the Explosives Act, Gas Cylinder Rules and Static and Mobile Pressure Vessels (Unfired) Rules. Those duties stay with the named statute; this policy does not paste the Act. This is an asterisked element.

Method note (from guidebook interpretation): This shall apply to all gases used in the organisation. It shall also address the issue of statutory requirements and approvals wherever applicable. It shall follow a uniform colour coding system. A good reference is HTM 02-01 or NFPA’s Medical Gas and Vacuum Systems Installation Handbook (NFPA 2018 99C solution). Proper signage is kept for full and empty cylinders. The organisation shall adhere to statutory requirements under the provisions of the Indian Explosives Act, Gas Cylinder rules and Static and Mobile Pressure Vessel (unfired) rules.

This objective element is asterisked in the official Standards PDF — documentation of the process is required.

## 5.2 Medical gases are handled, stored, distributed and used in a safe manner

Medical gases are handled, stored, distributed and used safely: colour-coded cylinders and pipelines; alarms and valve boxes; twenty-four-hour monitoring of plant alarms; pin-indexed outlets; automatic change-over to the alternate source.

A live leak or a silenced required alarm is a stop-work trigger (section 6). This is a CORE element.

Method note (from guidebook interpretation): Standardised colour coding of the cylinders and pipelines shall be maintained. The procedures for medical gases address the safety issues at all levels from the point of storage/source area, gas supply lines and the end-user area. Appropriate safety measures shall be developed and implemented for all levels. This shall include alarm units and valve boxes installation at various locations and 24X7 monitoring of plant alarm unit for gas pressure going beyond the set limit, pin-indexed medical gas outlets, auto-change over from one source to an alternate source.

This is a CORE objective element — non-compliance is not acceptable for accreditation.

## 5.3 There is an operational, inspection, testing and maintenance plan for...

There is an operational, inspection, testing and maintenance plan for piped medical gas, compressed air and vacuum, following the manufacturer. Compressed-air purity is checked at a terminal outlet at least «annually», at least one terminal in the operating theatre and one in intensive care if those areas exist.

This is an asterisked element.

Method note (from guidebook interpretation): This shall adhere to the manufacturer's recommendations. Compressed air purity shall be checked (at the level of the terminal outlet) once in a year at least in one terminal from OT and ICU.

This objective element is asterisked in the official Standards PDF — documentation of the process is required.

## 5.4 Alternate sources for medical gases, vacuum and compressed air are...

Alternate sources for medical gases, vacuum and compressed air are provided for failure (stand-by compressor and vacuum pump; stand-by manifold or bulk cylinders).

No required alternate source is a stop-work trigger (section 6). This is a CORE element.

Method note (from guidebook interpretation): In the case of an air compressor and vacuum pump, it could be the stand-by air compressor and vacuum pump unit. For medical gases, it could be standby gas manifold/bulk cylinders.

This is a CORE objective element — non-compliance is not acceptable for accreditation.

## 5.5 The organisation regularly tests the functioning of these alternate...

The organisation regularly tests these alternate sources. Results are documented. Default interval «monthly» unless the manufacturer or the written plan states a shorter one.

Method note (from guidebook interpretation): The results of these tests shall be documented.

# 6. Stop-work authority

Do not use a medical-gas outlet or manifold when there is a live leak, a required alarm that has been silenced without a recorded reason, or no required alternate source for that gas, vacuum or compressed air.

Stop-work applies to using that outlet or manifold. Immediate life-saving care uses cylinders or the written alternate source.

The person who stops tells the «Engineering In-Charge» and the «Medical Superintendent» the same shift. Refusing an unsafe gas outlet is not a disciplinary matter.

# 7. Governance and responsibility

Medical Superintendent

- Accountable that FMS.6 is resourced and followed.

Engineering In-Charge

- Owns day-to-day implementation and records for this standard.

Quality Coordinator

- Audits this policy «quarterly»; holds training acknowledgements.

departmental leaders

- Run the department-level duties this standard names.

# 8. Quality monitoring (RCA → CAPA)

The Quality Coordinator audits this policy «quarterly». The audit reviews:

- Records for a sample of this standard's objective elements, checked against the What-we-do steps.

- Documentary evidence is on file for each asterisked objective element in the sample.

- CORE objective elements show no critical gaps in the sample.

- Stop-work events (if any) are logged with outcome.

Root-cause analysis is required when a gap found in this audit remains open beyond «90 days».

This policy is reviewed «annually», and sooner after a related facility change, utility failure, equipment recall or fire-plan change.

# 9. Training and staff acknowledgement

Staff covered by this policy are trained at induction and «once a year» after that. Training covers the What-we-do steps, non-negotiables and stop-work (if present).

Staff acknowledgement

I have read this Medical Gases, Vacuum and Compressed Air policy of «Hospital Name». I will follow the processes described.

Name: ___________________________    Designation: ___________________________

Department / floor: ____________________    Date: ____________

Signature: ___________________________

(One row per staff member. The Quality Coordinator holds signed acknowledgements with the induction record.)

| Name | Designation | Department / floor | Date | Signature |
| --- | --- | --- | --- | --- |

The Quality Coordinator holds signed acknowledgements with the induction record.

# 10. References

- National Accreditation Board for Hospitals and Healthcare Providers (NABH), Accreditation Standards for Hospitals, 6th Edition (January 2025) — Facility Management and Safety, standard FMS.6. Official portal PDF (OE text, counts, levels, asterisks).

- NABH Guidebook to Accreditation Standards for Hospitals, 6th Edition — FMS.6 interpretations (source PDF md5 2c4489ee98de4ae9b49cba168ea9f42a; OCR policies/source/hco6_fms_guidebook_ocr.txt).

- Internal documents of «Hospital Name»: facility-inspection records, as-built drawings, utility and medical-equipment logs, medical-gas records, fire and non-fire plans named for FMS.6.

# 11. Distribution

Medical Superintendent; Engineering In-Charge; Quality Coordinator; departmental leaders; staff covered by FMS.6

# 12. Abbreviations

AHU — Air Handling Unit
CAPA — Corrective and Preventive Action
CORE — Core objective element (NABH)
DG — Diesel Generator
ELV — Extra Low Voltage
FMS — Facility Management and Safety (NABH Hospitals 6th Edition chapter)
HCO — Hospital (Full Accreditation programme under NABH Hospitals 6th Edition)
HVAC — Heating, Ventilation and Air Conditioning
MSDS — Material Safety Data Sheet
NABH — National Accreditation Board for Hospitals and Healthcare Providers
OE — Objective Element
PPE — Personal Protective Equipment
RO — Reverse Osmosis
STP — Sewage Treatment Plant

# 13. Traceability to NABH HCO Full Accreditation 6th Edition FMS.6

This table is an index. It is not how the policy is organised.

| OE | Requirement | Where this policy addresses it | Responsible |
| --- | --- | --- | --- |
| FMS.6.a | Written guidance governs the implementation of procurement, handling, storage, distribution, usage and replenishment of medical gases. | Section 3; 5.1; Section 6 Stop-work | Engineering In-Charge |
| FMS.6.b | Medical gases are handled, stored, distributed and used in a safe manner. | Section 3; 5.2; Section 6 Stop-work | Engineering In-Charge |
| FMS.6.c | There is an operational, inspection, testing and maintenance plan for piped medical gas, compressed air and vacuum installation. | Section 3; 5.3; Section 6 Stop-work | Engineering In-Charge |
| FMS.6.d | Alternate sources for medical gases, vacuum and compressed air are provided for, in case of failure. | Section 3; 5.4; Section 6 Stop-work | Engineering In-Charge |
| FMS.6.e | The organisation regularly tests the functioning of these alternate sources. | Section 3; 5.5; Section 6 Stop-work | Engineering In-Charge |

# 14. Required Records / Evidence Checklist

Records the hospital holds under this policy, listed by objective element.

## FMS.6.a — Written guidance governs the implementation of procurement, handling, storage, distribution, usage and replenishment of medical gases.

- Written medical-gas procurement, handling, storage, distribution, usage and replenishment guidance, including colour-coding and signage.

- Reference used (for example HTM 02-01 or the NFPA medical-gas handbook).

- Statutory-provision record (Explosives Act, Gas Cylinder Rules, Static and Mobile Pressure Vessels Rules) where those apply to this hospital's gases.

## FMS.6.b — Medical gases are handled, stored, distributed and used in a safe manner.

- Colour-coded cylinder and pipeline inventory with alarm and valve-box log.

- Twenty-four-hour plant-alarm monitoring record.

- Pin-indexed outlet and automatic-changeover verification record.

## FMS.6.c — There is an operational, inspection, testing and maintenance plan for piped medical gas, compressed air and vacuum installation.

- Documented operational, inspection, testing and maintenance plan for piped medical gas, compressed air and vacuum.

- Compressed-air purity test record, at least annually, at operating-theatre and intensive-care terminal outlets.

- Manufacturer-following maintenance log.

## FMS.6.d — Alternate sources for medical gases, vacuum and compressed air are provided for, in case of failure.

- Stand-by compressor/vacuum-pump and stand-by manifold or bulk-cylinder inventory.

- Automatic-changeover test record.

- Alternate-source readiness confirmation log.

## FMS.6.e — The organisation regularly tests the functioning of these alternate sources.

- Test log for alternate medical-gas sources at the defined interval (default monthly).

- Manufacturer or written-plan interval reference used.

- Corrective-action record for any failed test.

# Disclaimer

This document is a template prepared for the guidance of «Hospital Name» and must be reviewed, adapted and formally approved by «Hospital Name» before use. Every entry marked [Hospital to define] must be replaced with the hospital's own decision; a document issued with those markers left in place is not an approved policy.

Several requirements in this document are statutory rather than advisory — in particular those arising under statutory provisions for medical gases as named in NABH FMS.6, including the Explosives Act, Gas Cylinder Rules and Static and Mobile Pressure Vessels (Unfired) Rules where they apply to this hospital's gases. Statutory requirements change, and State authorities impose additional or stricter conditions. «Hospital Name» is responsible for verifying the current text of any rule cited here and the conditions attached to its own authorisations and licences; this document does not constitute legal advice.

The clinical and technical content reflects recognised national and international guidance current at the date of preparation. «Hospital Name» remains responsible for verifying that it is current and consistent with the edition of the accreditation standard against which it is being assessed.

This document is not issued by, endorsed by, or affiliated with NABH, the World Health Organization, the National Centre for Disease Control, the Food Safety and Standards Authority of India, any Pollution Control Board, or any other body named in it. Wording is original; no text has been reproduced from the standards, rules or guidelines referenced.