COP.14.i/j — Quality assurance and environmental surveillance

COP.14 Record 11 — OT Environmental Monitoring Record

What is this record, in plain terms? Daily humidity/pressure differential/temperature checks, and filter integrity checks at least every six months. Every time this happens for real, whoever is responsible adds one new row to the table below, filling in: Date, Humidity, Pressure Differential, Temperature, Filter Integrity Check (if due). A worked example row is already filled in below (shaded) so you can see exactly what a completed entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this Whoever is responsible adds a new row the moment it genuinely happens — in this case, that means daily humidity/pressure differential/temperature checks, and filter integrity checks at least every six months. The worked example below shows a real entry: on 11-Jan-2026, humidity was “52%”, pressure differential was “Positive, within range”, temperature was “21°C”.

Why does NABH ask for this? A patient who deteriorates between checks is only caught if the checks actually happened and were written down — this record is that evidence.

How to fill this in — column by column

Date: The actual date this happened — not the date you're filling the form. The worked example row below shows '11-Jan-2026' in this column, so you can see the level of detail expected — write your own real entry in that same style, not a copy of the example.

Humidity: Enter the actual humidity for this specific entry — real information from what actually happened, not a placeholder. The worked example row below shows '52%' in this column, so you can see the level of detail expected — write your own real entry in that same style, not a copy of the example.

Pressure Differential: Enter the actual pressure differential for this specific entry — real information from what actually happened, not a placeholder. The worked example row below shows 'Positive, within range' in this column, so you can see the level of detail expected — write your own real entry in that same style, not a copy of the example.

Temperature: Enter the actual temperature for this specific entry — real information from what actually happened, not a placeholder. The worked example row below shows '21°C' in this column, so you can see the level of detail expected — write your own real entry in that same style, not a copy of the example.

Filter Integrity Check (if due): Enter the actual filter integrity check (if due) for this specific entry — real information from what actually happened, not a placeholder. The worked example row below shows 'N/A — last check 01-Dec-2025' in this column, so you can see the level of detail expected — write your own real entry in that same style, not a copy of the example.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Date | Humidity | Pressure Differential | Temperature | Filter Integrity Check (if due) |
| --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |
| 11-Jan-2026 | 52% | Positive, within range | 21°C | N/A — last check 01-Dec-2025 |