FMS.1.a — Patient safety devices and infrastructure are installed across the organisation and inspected periodically.

FMS.1 Record 1 — Patient safety devices and infrastructure are installed across the organisation and inspected periodically.

What is this record, in plain terms? This record is where you keep the proof for: “Current inventory of patient-safety devices and infrastructure (grab bars, bed rails, call bells, fire-safety devices) by area.” — the specific evidence element Patient safety devices and infrastructure are installed across the organisation and inspected periodically. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Item / Area, Category / Type, Unique Identifier, Location, Date Last Verified. A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this The Facility Engineer uses this record whenever patient-safety devices are inventoried, inspected, or a missing device is escalated. The worked example below shows a real entry: on 10-Jan-2026, item / area was “Bed rails — Ward B, Bed 12”, category / type was “Patient-safety device”, unique identifier was “PSD-0231”.

Why does NABH ask for this? A grab bar or bed rail that was fitted once and never checked again is exactly the kind of thing that quietly fails and causes a real fall — this record proves the devices are actually there and someone actually checked them. This is a CORE requirement — NABH treats it as non-negotiable, not aspirational.

How to fill this in — column by column

Item / Area: The specific item or area — name it precisely, not a category like 'safety equipment.'

Category / Type: What kind of item/area this is.

Unique Identifier: The item's actual unique ID/tag number, if it has one — write 'not tagged' if it genuinely has none yet, don't leave blank.

Location: Exactly where this item/area is — specific enough that someone unfamiliar with the building could find it.

Date Last Verified: The date this entry was last actually checked/verified still accurate.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Item / Area | Category / Type | Unique Identifier | Location | Date Last Verified |
| --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |
| Bed rails — Ward B, Bed 12 | Patient-safety device | PSD-0231 | General Ward B | 10-Jan-2026 |

Where this requirement comes from (verified, clickable sources)

NABH — Accreditation Standards for Hospitals, 6th Edition, FMS.1 — named source, no working link could be verified from here; check directly.