FMS.1.c — Facility inspection rounds to ensure safety are conducted at least once a month.

FMS.1 Record 8 — Facility inspection rounds to ensure safety are conducted at least once a month.

What is this record, in plain terms? This record is where you keep the proof for: “Round calendar showing no missed month.” — the specific evidence element Facility inspection rounds to ensure safety are conducted at least once a month. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Date, Item/Area Inspected, Inspected By, Finding, Next Inspection Due. A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this The Facility Engineer uses this record every month, to complete and log the facility-inspection round. The worked example below shows a real entry: on 12-Jan-2026, item/area inspected was “Fire extinguisher — OT corridor”, inspected by was “Facility Engineer”, next inspection due was “12-Apr-2026” — so finding was “Pressure gauge in green zone; seal intact”.

Why does NABH ask for this? A hazard that's never actually inspected for is a hazard nobody is managing — this record proves the round happened this month, not just that a schedule for it exists. This is a CORE requirement — NABH treats it as non-negotiable, not aspirational.

How to fill this in — column by column

Date: The actual date this inspection happened.

Item/Area Inspected: The specific item or area inspected — name it precisely.

Inspected By: Who actually did the inspection.

Finding: What was actually found — a real observation, not just 'OK.'

Next Inspection Due: When this item/area is next due for inspection.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Date | Item/Area Inspected | Inspected By | Finding | Next Inspection Due |
| --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |
| 12-Jan-2026 | Fire extinguisher — OT corridor | Facility Engineer | Pressure gauge in green zone; seal intact | 12-Apr-2026 |