FMS.3.b — Patient safety aspects in terms of structural safety of hospitals, especially of critical areas are considered while planning, design and construction of new hospitals and re-planning, assessment and retrofitting of existing hospitals.

FMS.3 Record 4 — Patient safety aspects in terms of structural safety of hospitals, especially of critical areas are considered while planning, design and construction of new hospitals and re-planning, assessment and retrofitting of existing hospitals.

What is this record, in plain terms? This record is where you keep the proof for: “Structural-safety design reference actually applied (for example Indian Seismic Code IS 1893 Part 1) for the specific building project.” — the specific evidence element Patient safety aspects in terms of structural safety of hospitals, especially of critical areas are considered while planning, design and construction of new hospitals and re-planning, assessment and retrofitting of existing hospitals. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Project, Design Reference Used, Applies To, Date Confirmed. A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this The Engineering In-Charge uses this record whenever a real construction, re-planning or retrofit project applies a structural-safety standard. The worked example below shows a real entry: on 05-Jan-2026, project was “3rd-floor ICU expansion”, design reference used was “Indian Seismic Code IS 1893 (Part 1), latest version”, applies to was “Structural and non-structural elements of the new build”.

Why does NABH ask for this? A building that looks fine but was never actually checked against a real seismic or structural standard is a collapse risk waiting for the right event — this record proves a real standard was genuinely applied to real construction work. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

How to fill this in — column by column

Project: The specific real construction/retrofit project.

Design Reference Used: The exact design reference used.

Applies To: What part of the project this reference actually covers.

Date Confirmed: The date this reference was confirmed to be the current version.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Project | Design Reference Used | Applies To | Date Confirmed |
| --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |
| 3rd-floor ICU expansion | Indian Seismic Code IS 1893 (Part 1), latest version | Structural and non-structural elements of the new build | 05-Jan-2026 |