FMS.3.b — Patient safety aspects in terms of structural safety of hospitals, especially of critical areas are considered while planning, design and construction of new hospitals and re-planning, assessment and retrofitting of existing hospitals.

FMS.3 Record 5 — Patient safety aspects in terms of structural safety of hospitals, especially of critical areas are considered while planning, design and construction of new hospitals and re-planning, assessment and retrofitting of existing hospitals.

What is this record, in plain terms? This record is where you keep the proof for: “Engineering sign-off record for that construction, re-planning or retrofit project.” — the specific evidence element Patient safety aspects in terms of structural safety of hospitals, especially of critical areas are considered while planning, design and construction of new hospitals and re-planning, assessment and retrofitting of existing hospitals. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Project, Signed Off By, Date, Reference Standard Applied. A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this The Engineering In-Charge uses this record whenever a real construction, re-planning or retrofit project applies a structural-safety standard. The worked example below shows a real entry: on 05-Jan-2026, project was “3rd-floor ICU expansion”, signed off by was “Structural Engineer (licensed)”, reference standard applied was “IS 1893 (Part 1)”.

Why does NABH ask for this? A building that looks fine but was never actually checked against a real seismic or structural standard is a collapse risk waiting for the right event — this record proves a real standard was genuinely applied to real construction work. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

How to fill this in — column by column

Project: The specific real construction/retrofit project — name it.

Signed Off By: Who actually signed off, by name and qualification.

Date: The date sign-off was actually given, before work started.

Reference Standard Applied: The design standard actually applied to this project.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Project | Signed Off By | Date | Reference Standard Applied |
| --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |
| 3rd-floor ICU expansion | Structural Engineer (licensed) | 05-Jan-2026 | IS 1893 (Part 1) |