FMS.3.b — Patient safety aspects in terms of structural safety of hospitals, especially of critical areas are considered while planning, design and construction of new hospitals and re-planning, assessment and retrofitting of existing hospitals.

FMS.3 Record 6 — Patient safety aspects in terms of structural safety of hospitals, especially of critical areas are considered while planning, design and construction of new hospitals and re-planning, assessment and retrofitting of existing hospitals.

What is this record, in plain terms? This record is where you keep the proof for: “Evidence of what was applied to real building work, not a policy statement alone.” — the specific evidence element Patient safety aspects in terms of structural safety of hospitals, especially of critical areas are considered while planning, design and construction of new hospitals and re-planning, assessment and retrofitting of existing hospitals. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Project, What Was Actually Applied, Evidence On File, Date. A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this The Engineering In-Charge uses this record whenever a real construction, re-planning or retrofit project applies a structural-safety standard. The worked example below shows a real entry: on 05-Jan-2026, project was “3rd-floor ICU expansion”, what was actually applied was “Seismic-resistant column reinforcement per IS 1893”, evidence on file was “Structural engineer's calculation sheet + site inspection photos”.

Why does NABH ask for this? A building that looks fine but was never actually checked against a real seismic or structural standard is a collapse risk waiting for the right event — this record proves a real standard was genuinely applied to real construction work. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

How to fill this in — column by column

Project: The specific real construction/retrofit project.

What Was Actually Applied: What was genuinely applied on site — not a policy statement.

Evidence On File: The real document/photo evidence on file proving it.

Date: The date this evidence was recorded.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Project | What Was Actually Applied | Evidence On File | Date |
| --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |
| 3rd-floor ICU expansion | Seismic-resistant column reinforcement per IS 1893 | Structural engineer's calculation sheet + site inspection photos | 05-Jan-2026 |