FMS.4.c — The documented operational and maintenance (preventive and breakdown) plan is implemented.

FMS.4 Record 8 — The documented operational and maintenance (preventive and breakdown) plan is implemented.

What is this record, in plain terms? This record is where you keep the proof for: “Preventive-maintenance schedule and completion log for the critical-equipment list.” — the specific evidence element The documented operational and maintenance (preventive and breakdown) plan is implemented. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Date, Equipment/System, Maintenance/Inspection Performed, Result/Status, Next Due, Responsible Person, Verified By. A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this The Facility Engineer uses this record whenever the maintenance plan is written, followed, or a breakdown is actually responded to. The worked example below shows a real entry: on 18-Jan-2026, equipment/system was “AHU-3, OT Block”, maintenance/inspection performed was “Filter change and belt inspection — preventive, per schedule”, next due was “18-Apr-2026” — so result/status was “Pass — no deviation”.

Why does NABH ask for this? A maintenance plan that exists only as a document, with no real preventive schedule being followed, is how equipment fails without warning — this record proves the plan is actually being carried out. This is a CORE requirement — NABH treats it as non-negotiable, not aspirational.

How to fill this in — column by column

Date: The date the maintenance or inspection actually happened — not the scheduled date if it slipped.

Equipment/System: The exact equipment or system worked on — name it and its location.

Maintenance/Inspection Performed: What was actually done — the real task performed, not 'maintenance done.'

Result/Status: The real result — pass, or what was found and corrected.

Next Due: When this item is next due.

Responsible Person: Who actually carried out the work.

Verified By: Who checked and signed off that the work was actually done.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Date | Equipment/System | Maintenance/Inspection Performed | Result/Status | Next Due | Responsible Person | Verified By |
| --- | --- | --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |  |  |
| 18-Jan-2026 | AHU-3, OT Block | Filter change and belt inspection — preventive, per schedule | Pass — no deviation | 18-Apr-2026 | Facility Engineer | Engineering In-Charge |