FMS.4.e — Competent personnel operate, inspect, test and maintain equipment and utility systems.

FMS.4 Record 15 — Competent personnel operate, inspect, test and maintain equipment and utility systems.

What is this record, in plain terms? This record is where you keep the proof for: “Escalation record for any shift with no competent person named.” — the specific evidence element Competent personnel operate, inspect, test and maintain equipment and utility systems. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Date Identified, Gap/Issue Found, Escalated To, Action Taken, Date Closed. A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this The Facility Manager uses this record whenever staff are trained on utility equipment, or a shift's competent-person coverage is confirmed. The worked example below shows a real entry: on 14-Jan-2026, gap/issue found was “No competent person named for the night shift, Boiler/Utility Room”, escalated to was “Facility Manager”, date closed was “14-Jan-2026” — so action taken was “On-call utility engineer roster activated; competent person named for the shift”.

Why does NABH ask for this? Staff can't be expected to operate or fix utility equipment safely if they were never actually shown how, or if no competent person is rostered for a given shift — this record is proof real people were trained and are actually on duty. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

How to fill this in — column by column

Date Identified: The date this gap was actually found — not the date it was fixed.

Gap/Issue Found: What the actual gap or issue was, specific enough to act on.

Escalated To: Who this was escalated to — a real name/role.

Action Taken: What was actually done about it.

Date Closed: The date it was actually closed — leave blank only if still open.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Date Identified | Gap/Issue Found | Escalated To | Action Taken | Date Closed |
| --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |
| 14-Jan-2026 | No competent person named for the night shift, Boiler/Utility Room | Facility Manager | On-call utility engineer roster activated; competent person named for the shift | 14-Jan-2026 |