FMS.5.d — Medical equipment is periodically inspected and calibrated for their proper functioning.

FMS.5 Record 10 — Medical equipment is periodically inspected and calibrated for their proper functioning.

What is this record, in plain terms? This record is where you keep the proof for: “Calibration schedule (weekly, monthly or annual as the manufacturer defines) with traceability.” — the specific evidence element Medical equipment is periodically inspected and calibrated for their proper functioning. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Equipment, Calibration Date, Standard/Traceability Used, Result, Next Due. A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this The Biomedical Engineer uses this record whenever medical equipment is actually calibrated, before commissioning or after repair. The worked example below shows a real entry: on 08-Jan-2026, equipment was “Medication-refrigerator temperature gauge, Pharmacy”, standard/traceability used was “NABL-accredited calibration lab, traceable to national standard”, next due was “08-Jul-2026” — so result was “Within ±1°C tolerance — pass”.

Why does NABH ask for this? A medical device that drifts out of calibration gives a clinician a wrong reading with total confidence — this record proves it's still accurate, and that nothing overdue stayed in clinical use. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

How to fill this in — column by column

Equipment: The exact piece of equipment calibrated — name it and its location.

Calibration Date: The date calibration was actually carried out.

Standard/Traceability Used: Which standard or accredited lab this calibration is traceable to — a calibration with no traceability doesn't count as one.

Result: The actual result — pass, or the adjustment made if it failed.

Next Due: When this item is next due for calibration.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Equipment | Calibration Date | Standard/Traceability Used | Result | Next Due |
| --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |
| Medication-refrigerator temperature gauge, Pharmacy | 08-Jan-2026 | NABL-accredited calibration lab, traceable to national standard | Within ±1°C tolerance — pass | 08-Jul-2026 |