FMS.6.c — There is an operational, inspection, testing and maintenance plan for piped medical gas, compressed air and vacuum installation.

FMS.6 Record 8 — There is an operational, inspection, testing and maintenance plan for piped medical gas, compressed air and vacuum installation.

What is this record, in plain terms? This record is where you keep the proof for: “Compressed-air purity test record, at least annually, at operating-theatre and intensive-care terminal outlets.” — the specific evidence element There is an operational, inspection, testing and maintenance plan for piped medical gas, compressed air and vacuum installation. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Test Date, Item/System Tested, Result, Tested By, Next Test Due. A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this The Biomedical Engineer uses this record whenever the piped-gas maintenance plan is written or followed, or a real purity test is done. The worked example below shows a real entry: on 20-Jan-2026, item/system tested was “Compressed-air purity, OT-1 terminal outlet”, tested by was “Biomedical Engineer”, next test due was “20-Feb-2026” — so result was “Oil content and particulates within ISO 8573-1 Class limits”.

Why does NABH ask for this? Compressed air that's never actually tested for purity can be delivered straight to a ventilated patient — this record proves the real test happened, at the real terminal outlets that matter. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

How to fill this in — column by column

Test Date: The actual date this test was carried out — not the scheduled date if it slipped.

Item/System Tested: The specific item or system tested — name it precisely.

Result: What actually happened during the test — a real result, not 'passed' with no detail.

Tested By: Who actually carried out the test.

Next Test Due: When this is next due to be tested.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Test Date | Item/System Tested | Result | Tested By | Next Test Due |
| --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |
| 20-Jan-2026 | Compressed-air purity, OT-1 terminal outlet | Oil content and particulates within ISO 8573-1 Class limits | Biomedical Engineer | 20-Feb-2026 |