FMS.6.e — The organisation regularly tests the functioning of these alternate sources.

FMS.6 Record 13 — The organisation regularly tests the functioning of these alternate sources.

What is this record, in plain terms? This record is where you keep the proof for: “Test log for alternate medical-gas sources at the defined interval (default monthly).” — the specific evidence element The organisation regularly tests the functioning of these alternate sources. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Test Date, Item/System Tested, Result, Tested By, Next Test Due. A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this The Facility Engineer uses this record whenever an alternate medical-gas source is tested at its defined interval. The worked example below shows a real entry: on 20-Jan-2026, item/system tested was “Standby oxygen manifold bank”, tested by was “Facility Engineer”, next test due was “20-Feb-2026” — so result was “Started on demand; supply pressure held steady at 4 bar”.

Why does NABH ask for this? A backup medical-gas source tested once at installation and never again drifts silently out of readiness — this record proves it's still tested on a real, defined interval. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

How to fill this in — column by column

Test Date: The actual date this test was carried out — not the scheduled date if it slipped.

Item/System Tested: The specific item or system tested — name it precisely.

Result: What actually happened during the test — a real result, not 'passed' with no detail.

Tested By: Who actually carried out the test.

Next Test Due: When this is next due to be tested.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Test Date | Item/System Tested | Result | Tested By | Next Test Due |
| --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |
| 20-Jan-2026 | Standby oxygen manifold bank | Started on demand; supply pressure held steady at 4 bar | Facility Engineer | 20-Feb-2026 |