FMS.6.e — The organisation regularly tests the functioning of these alternate sources.

FMS.6 Record 14 — The organisation regularly tests the functioning of these alternate sources.

What is this record, in plain terms? This record is where you keep the proof for: “Manufacturer or written-plan interval reference used.” — the specific evidence element The organisation regularly tests the functioning of these alternate sources. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Reference/Standard Used, Where Applied, Date Confirmed Current, Confirmed By. A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this The Facility Engineer uses this record whenever an alternate medical-gas source is tested at its defined interval. The worked example below shows a real entry: on 10-Jan-2026, reference/standard used was “Manufacturer's recommended test interval, or the hospital's own written plan where no manufacturer interval is specified”, where applied was “Alternate medical-gas source test frequency”, confirmed by was “Facility Manager”.

Why does NABH ask for this? A backup medical-gas source tested once at installation and never again drifts silently out of readiness — this record proves it's still tested on a real, defined interval. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

How to fill this in — column by column

Reference/Standard Used: The exact reference or standard actually used — name it, don't write 'applicable guidelines.'

Where Applied: What this reference was actually applied to.

Date Confirmed Current: The date this was last checked to still be the current version of the reference.

Confirmed By: Who confirmed it.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Reference/Standard Used | Where Applied | Date Confirmed Current | Confirmed By |
| --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |
| Manufacturer's recommended test interval, or the hospital's own written plan where no manufacturer interval is specified | Alternate medical-gas source test frequency | 10-Jan-2026 | Facility Manager |