FMS.6.e — The organisation regularly tests the functioning of these alternate sources.

FMS.6 Record 15 — The organisation regularly tests the functioning of these alternate sources.

What is this record, in plain terms? This record is where you keep the proof for: “Corrective-action record for any failed test.” — the specific evidence element The organisation regularly tests the functioning of these alternate sources. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Date, Finding, Corrective/Preventive Action, Owner, Status. A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this The Facility Engineer uses this record whenever an alternate medical-gas source is tested at its defined interval. The worked example below shows a real entry: on 15-Jan-2026, finding was “Standby oxygen manifold failed to reach rated pressure on monthly test”, owner was “Biomedical Engineer”, status was “Closed” — so corrective/preventive action was “Regulator replaced; re-tested and passed within 48 hours”.

Why does NABH ask for this? A backup medical-gas source tested once at installation and never again drifts silently out of readiness — this record proves it's still tested on a real, defined interval. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

How to fill this in — column by column

Date: The date this finding was actually made.

Finding: What was actually found — be specific.

Corrective/Preventive Action: What was actually done, or planned, to fix it and stop it recurring.

Owner: Who is accountable for this action.

Status: Open or Closed — keep this current.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Date | Finding | Corrective/Preventive Action | Owner | Status |
| --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |
| 15-Jan-2026 | Standby oxygen manifold failed to reach rated pressure on monthly test | Regulator replaced; re-tested and passed within 48 hours | Biomedical Engineer | Closed |