FMS.7.d — Mock drills are held at least twice a year.

FMS.7 Record 10 — Mock drills are held at least twice a year.

What is this record, in plain terms? This record is where you keep the proof for: “Mock-drill record showing at least two drills a year covering fire and the named non-fire events.” — the specific evidence element Mock drills are held at least twice a year. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Drill Date, Scenario, Areas Involved, Debrief Finding, Corrective Action. A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this The Quality Coordinator uses this record whenever a mock drill is actually held and debriefed. The worked example below shows a real entry: on 25-Jan-2026, scenario was “Fire evacuation — simulated, ICU wing”, areas involved was “ICU, adjoining corridor”, debrief finding was “Evacuation completed in 6 min; one exit signage found obstructed” — so corrective action was “Signage relocated; re-tested 08-Feb-2026”.

Why does NABH ask for this? A plan that's never actually rehearsed with a real drill, debriefed and corrected, usually fails at exactly the moment it's needed — this record is the proof it was tested for real, with simulated (never real) patients. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

How to fill this in — column by column

Drill Date: The actual date this drill was held.

Scenario: The specific scenario tested — name it precisely; confirm it used simulated, not real, patients.

Areas Involved: Which real areas were actually involved in the drill.

Debrief Finding: What the debrief actually found — a real observation, not 'drill went well' with no detail.

Corrective Action: What was done to fix any gap found, and whether/when it was re-tested.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Drill Date | Scenario | Areas Involved | Debrief Finding | Corrective Action |
| --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |
| 25-Jan-2026 | Fire evacuation — simulated, ICU wing | ICU, adjoining corridor | Evacuation completed in 6 min; one exit signage found obstructed | Signage relocated; re-tested 08-Feb-2026 |