FMS.7.e — There is a maintenance plan for fire-related equipment and infrastructure.

FMS.7 Record 14 — There is a maintenance plan for fire-related equipment and infrastructure.

What is this record, in plain terms? This record is where you keep the proof for: “Inspection, testing, preventive and breakdown maintenance log following manufacturer and statutory recommendations.” — the specific evidence element There is a maintenance plan for fire-related equipment and infrastructure. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Date, Equipment/System, Maintenance/Inspection Performed, Result/Status, Next Due, Responsible Person, Verified By. A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this The Facility Manager uses this record whenever the fire-equipment maintenance plan is written or a real service is carried out. The worked example below shows a real entry: on 18-Jan-2026, equipment/system was “Fire hydrant pump, Main Block”, maintenance/inspection performed was “Manufacturer-schedule preventive inspection — pump, jockey pump and pressure switch check”, next due was “18-Apr-2026” — so result/status was “Pass — no deviation”.

Why does NABH ask for this? A fire extinguisher or hydrant system that was never actually serviced is discovered empty only during a real fire — this record proves the real service happened, following the manufacturer's and statutory recommendations. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

How to fill this in — column by column

Date: The date the maintenance or inspection actually happened — not the scheduled date if it slipped.

Equipment/System: The exact equipment or system worked on — name it and its location.

Maintenance/Inspection Performed: What was actually done — the real task performed, not 'maintenance done.'

Result/Status: The real result — pass, or what was found and corrected.

Next Due: When this item is next due.

Responsible Person: Who actually carried out the work.

Verified By: Who checked and signed off that the work was actually done.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Date | Equipment/System | Maintenance/Inspection Performed | Result/Status | Next Due | Responsible Person | Verified By |
| --- | --- | --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |  |  |
| 18-Jan-2026 | Fire hydrant pump, Main Block | Manufacturer-schedule preventive inspection — pump, jockey pump and pressure switch check | Pass — no deviation | 18-Apr-2026 | Facility Engineer | Engineering In-Charge |