AAC.5.i — The programme includes periodic calibration and maintenance of all equipment.

AAC.5 Record 06 — Imaging equipment calibration, maintenance, radiation-safety and downtime-contingency log

How to fill this in — column by column

Equipment: The imaging equipment.

Calibration/Maintenance Due: The scheduled date.

Date Performed: When it was actually done.

Radiation-Safety Check (Dosimetry/Shielding, if applicable): Status of the statutory radiation-safety check.

Result (Pass/Fail): Whether the equipment passed.

If Fail — Contingency Used: Outsourced referral or alternate modality used while out of service.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

National Accreditation Board for Hospitals and Healthcare Providers. (2022). Standards for Small Healthcare Organisations (3rd ed.). NABH SHCO Accreditation Programme page. Access, Assessment and Care of Patients chapter, standard AAC.5.

Government of India, Department of Atomic Energy. (2004). Atomic Energy (Radiation Protection) Rules, 2004 (G.S.R. 303, 25-Aug-2004). Statutory radiation-safety requirement administered by the Atomic Energy Regulatory Board (AERB); applies to diagnostic X-ray and imaging equipment.

What is this record, in plain terms? This record is the schedule and history of every imaging equipment item's calibration, maintenance, statutory radiation-safety compliance, and what happened to patient care while any unit was out of service.

A real example of when you'd use this The Imaging In-Charge tracks this per equipment item. The worked example shows an X-ray unit calibrated on schedule with current radiation-safety documentation.

Why does NABH ask for this? Uncalibrated imaging equipment can produce a misleading image, unchecked radiation output is a statutory safety failure under the Atomic Energy (Radiation Protection) Rules, 2004, and equipment taken offline with no contingency turns a technical fault into an access gap — this record covers all three.

| Equipment | Calibration/Maintenance Due | Date Performed | Radiation-Safety Check (Dosimetry/Shielding, if applicable) | Result (Pass/Fail) | If Fail — Contingency Used |
| --- | --- | --- | --- | --- | --- |
| X-ray Unit 1 | 01-Apr-2026 | 25-Mar-2026 | Personnel dosimetry current; shielding survey on file | Pass | N/A — passed |