Standard Operating Procedure

Laboratory Report Recall and Amendment

«Hospital Name» — Supports AAC.6.i

| SOP No. | [Hospital to define] | Version | 1.0 |
| --- | --- | --- | --- |
| Effective Date | ________ | Review Frequency | Annual, or on change |
| Prepared By | Quality Coordinator Name: ________ Signature: ________ |  |  |
| Approved By | Medical Superintendent Name: ________ Signature: ________ |  |  |

# 1. Purpose

This SOP describes how «Hospital Name» recalls or amends a laboratory report, ensuring no incorrect report remains in use anywhere in the hospital.

# 2. Scope

Applies to any laboratory report found to be incorrect after issue, whether generated in-house or outsourced.

# 3. Responsibility

Laboratory In-Charge: authorises every recall and confirms full withdrawal before closing the case.

# 4. Procedure

1. The moment an incorrect report is identified, log it in the Recall / Amendment Log with the reason.

2. Withdraw the recalled report from every location it could exist — clinical areas, the medical record, the LIS, and the HIS. Do not leave a superseded copy findable anywhere.

3. Issue the amended report with a clear notice that it supersedes the earlier version, where the earlier report was already given to the patient or clinical team.

4. Open a CAPA record for the root cause of the error and track it to closure.

# 5. Records

Supported by Records 25–27 of the AAC.6 Required Records pack.

# 6. Related Documents

- Policy on Laboratory Services (HCO/AAC/POL/06) — AAC.6 policy

# 7. Review

Reviewed annually, or sooner after a recurring recall pattern.

# 8. References

- College of American Pathologists. (n.d.). Laboratory Accreditation Program requirements for corrected/amended reports. https://www.cap.org/laboratory-improvement/accreditation/laboratory-accreditation-program (Official page; full standard text requires purchase or subscription.)