COP.14.i/j — Quality assurance and environmental surveillance

COP.14 Record 11 — OT Environmental Monitoring Record

| Document No. | [Hospital to define] | Version | 1.0 |
| --- | --- | --- | --- |
| Effective Date | ________ | Review Frequency | Per parent SOP/Policy |

Daily humidity/pressure differential/temperature checks, and filter integrity checks at least every six months.

Yellow row = worked example. Delete or overwrite it before filing. Add rows as needed.

| Date | Humidity | Pressure Differential | Temperature | Filter Integrity Check (if due) |
| --- | --- | --- | --- | --- |
| 11-Jan-2026 | 52% | Positive, within range | 21°C | N/A — last check 01-Dec-2025 |