Standard Operating Procedure

Implant and Medical Device Management

«Hospital Name» — Supports MOM.10.c, MOM.10.d, MOM.10.e (Achievement)

| SOP No. | [Hospital to define] | Version | 1.0 |
| --- | --- | --- | --- |
| Effective Date | ________ | Review Frequency | Annual, or on change |
| Prepared By | Quality Coordinator Name: ________ Signature: ________ |  |  |
| Approved By | Medical Superintendent Name: ________ Signature: ________ |  |  |

# 1. Purpose

This SOP describes how «Hospital Name» counsels patients, tracks batch/serial numbers, and manages recalls for implants and medical devices.

# 2. Scope

Applies to every implant or medical device used in patient care.

# 3. Responsibility

Treating Doctor / Nurse: counsels the patient and ensures batch/serial traceability at every required location.

# 4. Procedure

1. Before the procedure, counsel the patient and family on precautions specific to the implant, and document this within the informed consent.

2. Confirm the implant/device carries applicable regulatory approval before use.

3. Record the batch/serial number in all three required locations for every implant: the patient's medical record, the master logbook, and the discharge summary.

4. Where no pre-labelled sticker exists, transcribe the batch/serial number manually into all three locations and have a second person verify the transcription.

5. On learning of a recall — whether from internal feedback or an external notice — identify every patient who received that batch, using the master logbook, and notify the regulatory authority and manufacturer for internally identified recalls.

# 5. Records

Supported by Records 3, 4, and 5 of the MOM.10 Required Records pack.

# 6. Related Documents

- Policy on Implantable Prosthesis and Medical Devices (HCO/MOM/POL/10) — MOM.10 policy

# 7. Review

Reviewed annually, and immediately after any implant recall.

# 8. References

- Ministry of Health and Family Welfare, Government of India (CDSCO). (2017). Medical Devices Rules, 2017 (G.S.R. 78(E)). https://cdsco.gov.in/opencms/resources/UploadCDSCOWeb/2022/m_device/Medical%20Devices%20Rules,%202017.pdf