Standard Operating Procedure

Ambulance Dispatch, Checks and In-Transit Care

«Hospital Name» — Supports COP.3.e through COP.3.g

Why does this SOP exist? (read this first if you're new) This SOP describes how «Hospital Name» dispatches an ambulance, keeps it ready through daily checks, and delivers safe in-transit care with continuous communication. If you're new to this SOP, the short version is: follow the numbered steps below in order — they exist because skipping one of them is exactly how a real gap or a real patient-safety problem happens, not because NABH likes paperwork for its own sake.

| SOP No. | [Hospital to define] | Version | 1.0 |
| --- | --- | --- | --- |
| Effective Date | ________ | Review Frequency | Annual, or on change |
| Prepared By | Quality Coordinator Name: ________ Signature: ________ |  |  |
| Approved By | Medical Superintendent Name: ________ Signature: ________ |  |  |

# 1. Purpose

This SOP describes how «Hospital Name» dispatches an ambulance, keeps it ready through daily checks, and delivers safe in-transit care with continuous communication.

# 2. Scope

Applies to every ambulance run by «Hospital Name», for emergency, inter-facility, and scheduled transport.

# 3. Responsibility

Ambulance Driver: completes daily vehicle-system checks and drives per the defined departure timeframe.

Ambulance Nurse/Paramedic: checks medical equipment and medication, and delivers in-transit care.

Control Room Staff: maintains continuous communication throughout the trip.

# 4. Procedure

## 4.1 Daily and post-trip checks

Why this step matters: An ambulance dispatched with a fault undiscovered because the daily check was skipped can break down or become unsafe exactly when a patient is relying on it.

1. Complete daily checks of lights, siren, beacon, fuel, and tyres before the ambulance goes into service.

2. If any daily check fails, the ambulance does not go into service — ground it, tag it as out of service, and inform the Ambulance In-Charge immediately for repair or replacement before any dispatch.

3. Check medical equipment and medication expiry daily, and top up consumables after every trip.

Technical source(s) for these steps:

Ministry of Road Transport and Highways, Government of India. (2013). National Ambulance Code (AIS-125).

## 4.2 Dispatch

Why this step matters: A dispatch that doesn't log its own timing or maintain contact with control leaves no way to know whether the response met the time the patient needed.

1. Log the call receipt time, and depart within the hospital's defined timeframe.

2. Maintain continuous wireless/mobile communication with the control room throughout the trip.

Technical source(s) for these steps:

Ministry of Road Transport and Highways, Government of India. (2013). National Ambulance Code (AIS-125).

## 4.3 In-transit care

Why this step matters: A patient whose file is only opened on arrival, with no one person responsible for decisions en route, can lose the minutes in transit that mattered most.

1. Open a patient file from the first communication with the referring point, capturing age, weight, provisional diagnosis, and ongoing treatment.

2. Name one person as responsible for in-transit clinical decisions for each trip.

3. Hand over to the receiving medical professional directly, with a complete verbal and written summary.

Technical source(s) for these steps:

World Health Organization. (2007). Communication during patient hand-overs (Patient Safety Solutions, Vol. 1, Solution 3).

# 5. Records

Supported by Records 6, 7, 8, 9, 10, and 11 of the COP.3 Required Records pack.

# 6. Related Documents

Policy on Ambulance Services (HCO/COP/POL/03) — COP.3 policy

# 7. Where This SOP's Requirements Come From (Verified Sources)

National Accreditation Board for Hospitals and Healthcare Providers. (2025). NABH accreditation standards for hospitals (6th ed.). ISBN 978-81-965264-9-8.

AIS-125 (Part 1): Requirements for Ambulances Used for Transportation of Patients (2014)

# 8. Review

Reviewed annually, and immediately after any ambulance-related adverse event.