Standard Operating Procedure

Implant and Medical Device Management

«Hospital Name» — Supports MOM.10.c, MOM.10.d, MOM.10.e (Achievement)

Why does this SOP exist? (read this first if you're new) This SOP describes how «Hospital Name» counsels patients, tracks batch/serial numbers, and manages recalls for implants and medical devices. If you're new to this SOP, the short version is: follow the numbered steps below in order — they exist because skipping one of them is exactly how a real gap or a real medication-safety incident happens, not because NABH likes paperwork for its own sake.

| SOP No. | [Hospital to define] | Version | 1.0 |
| --- | --- | --- | --- |
| Effective Date | ________ | Review Frequency | Annual, or on change |
| Prepared By | Quality Coordinator Name: ________ Signature: ________ |  |  |
| Approved By | Medical Superintendent Name: ________ Signature: ________ |  |  |

# 1. Purpose

This SOP describes how «Hospital Name» counsels patients, tracks batch/serial numbers, and manages recalls for implants and medical devices.

# 2. Scope

Applies to every implant or medical device used in patient care.

# 3. Responsibility

Treating Doctor / Nurse: counsels the patient and ensures batch/serial traceability at every required location.

# 4. Procedure

Why this step matters: A batch number not captured at the time of use can't be reconstructed later — if that batch is later recalled, an untraceable implant means a patient who needed to be found never gets called.

1. Before the procedure, counsel the patient and family on precautions specific to the implant, and document this within the informed consent.

2. Confirm the implant/device carries applicable regulatory approval before use.

3. Record the batch/serial number in all three required locations for every implant: the patient's medical record, the master logbook, and the discharge summary.

4. Where no pre-labelled sticker exists, transcribe the batch/serial number manually into all three locations and have a second person verify the transcription.

5. On learning of a recall — whether from internal feedback or an external notice — identify every patient who received that batch, using the master logbook, and notify the regulatory authority and manufacturer for internally identified recalls.

Technical source(s) for these steps:

Ministry of Health and Family Welfare, Government of India. (2017). Medical Devices Rules, 2017. Central Drugs Standard Control Organisation.

# 5. Records

Supported by Records 3, 4, and 5 of the MOM.10 Required Records pack.

# 6. Related Documents

Policy on Implantable Prosthesis and Medical Devices (HCO/MOM/POL/10) — MOM.10 policy

# 7. Where This SOP's Requirements Come From (Verified Sources)

NABH — Hospitals Accreditation Programme (HCO), 6th Edition standards

CDSCO, Government of India — Medical Devices Rules, 2017 (G.S.R. 78(E))

# 8. Review

Reviewed annually, and immediately after any implant recall.