Standard Operating Procedure

Imaging Services — Turnaround Time, Critical Results, Outsourcing, Quality Assurance and Calibration

«Hospital Name» — SOP-AAC.5.d — Version 1.0

| SOP No. | SOP-AAC.5.d | Version | 1.0 |
| --- | --- | --- | --- |
| Effective Date | «________» | Review Frequency | Annual, or on change |

# 1. Purpose

This SOP sets out how «Hospital Name» ensures imaging results are available within a defined time frame, critical imaging findings are intimated immediately with escalation if the first attempt fails, outsourced imaging services are selected on quality assurance grounds, patients are screened for imaging-specific safety risks before the study, an imaging quality assurance programme is implemented, and imaging equipment is calibrated and maintained -- including statutory radiation-safety compliance and a documented contingency when equipment is down.

A patient of childbearing age is due for an X-ray and nobody has asked about pregnancy. This SOP is what requires that screen to happen and be documented before the study goes ahead -- not discovered as a problem afterward.

We do this because an imaging study that goes ahead without checking whether it's actually safe for this particular patient -- an unnecessary radiation exposure, a contrast study on someone with a known allergy -- turns a diagnostic step into the injury it was meant to help prevent.

To define how «Hospital Name» manages imaging turnaround time, critical results, outsourcing, quality assurance, equipment calibration and radiation-safety compliance.

# 2. Scope

so the Imaging In-Charge and every ordering or outsourcing clinician follow the same safety and quality standard.

Applies to the Imaging/Radiology In-Charge, radiology staff, and every clinician ordering or outsourcing an imaging study.

# 3. Responsibility

an unscreened patient, an unescalated critical finding, or an uncalibrated scanner each turns a diagnostic step into a risk.

Imaging In-Charge: Monitors turnaround time, maintains the critical-finding list, runs the pre-imaging safety screen, runs the imaging QA programme, and maintains the equipment calibration schedule including statutory radiation-safety compliance and downtime contingency.

Medical Superintendent: Approves outsourced imaging providers and reviews the QA programme at least annually.

# 4. What to do

## Screen the patient before imaging

An imaging study that goes ahead without checking whether it's actually safe for this particular patient -- an unnecessary radiation exposure to a pregnant patient, a contrast study on someone with a known allergy -- turns a diagnostic step into the injury it was meant to help prevent.

Before any radiation-based study, pregnancy status is screened and documented for a patient of childbearing age, following the ALARA (as low as reasonably achievable) principle.

Before any contrast-enhanced study, known allergy and relevant renal history are screened and documented.

## Turnaround time and critical results, with escalation

An imaging finding that could change immediate management -- a pneumothorax, a fracture needing urgent reduction -- is only useful if it reaches the clinician fast, and a single unanswered call cannot be where that process stops.

Each imaging modality has a defined turnaround time from study completion to report availability, tracked against the target.

Critical imaging findings are defined on a written list and communicated directly to the treating clinician immediately, with the communication logged.

If the treating clinician cannot be reached within a defined time, the Imaging In-Charge escalates to the next person on the on-call list, with every attempt logged.

## Outsourcing imaging services

Sending a patient to an external imaging centre with no check on its quality assurance or radiation-safety compliance passes that risk straight to the patient.

Before imaging is outsourced, the receiving facility's quality assurance credentials and radiation-safety compliance are verified and kept on file.

The approved outsourced-imaging list is reviewed at least annually.

## Quality assurance, calibration, radiation safety, and downtime

Imaging equipment that is neither quality-checked nor calibrated can produce a misleading image, unmanaged radiation output is a statutory safety failure on top of a clinical one, and equipment taken offline with no plan turns a technical fault into an access gap.

The imaging QA programme includes periodic image-quality checks against a defined standard, documented and reviewed.

Every imaging equipment item has a defined calibration and preventive-maintenance schedule, carried out and logged, with equipment taken out of service immediately if found out of calibration.

Radiation-safety compliance -- shielding, personnel dosimetry, equipment registration/licensing as applicable -- is checked and documented per statutory requirement.

For the period equipment is out of service, the Imaging In-Charge arranges a documented contingency (referral to an approved outsourced provider, or an alternate in-house modality where clinically appropriate).

# 5. Records

This SOP produces and maintains Records 1-6 (see the AAC.5 Records folder).

# 6. Related SOPs

Policy on Imaging and Diagnostic Services (AAC.5)

# 7. Review

This SOP is reviewed at least annually by the Quality Coordinator together with the Imaging In-Charge, and sooner if a critical-result delay, QA finding, radiation-safety compliance gap, or equipment-downtime contingency is used.

# Appendix — NABH Standard Cross-Reference and Evidence Basis

For the Quality Coordinator and NABH assessment use only. The reasoning and real-world triggers for each requirement are already in the body above -- this appendix adds only what the body deliberately leaves out: the exact objective-element code, how this SOP's scope is kept separate from neighbouring standards, and the verified technical source for anything cited.

## Screen the patient before imaging — AAC.5.d

## Turnaround time and critical results, with escalation — AAC.5.e

## Outsourcing imaging services — AAC.5.f

Verified source(s):

• Government of India, Department of Atomic Energy. (2004). Atomic Energy (Radiation Protection) Rules, 2004 (G.S.R. 303, 25-Aug-2004). Statutory radiation-safety requirement administered by the Atomic Energy Regulatory Board (AERB); applies to diagnostic X-ray and imaging equipment.

## Quality assurance, calibration, radiation safety, and downtime — AAC.5.g

Verified source(s):

• Government of India, Department of Atomic Energy. (2004). Atomic Energy (Radiation Protection) Rules, 2004 (G.S.R. 303, 25-Aug-2004). Statutory radiation-safety requirement administered by the Atomic Energy Regulatory Board (AERB); applies to diagnostic X-ray and imaging equipment.

## Full reference list

• National Accreditation Board for Hospitals and Healthcare Providers. (2022). Standards for Small Healthcare Organisations (3rd ed.). NABH SHCO Accreditation Programme page. Access, Assessment and Care of Patients chapter, standard AAC.5.

• Government of India, Department of Atomic Energy. (2004). Atomic Energy (Radiation Protection) Rules, 2004 (G.S.R. 303, 25-Aug-2004). Statutory radiation-safety requirement administered by the Atomic Energy Regulatory Board (AERB); applies to diagnostic X-ray and imaging equipment.