FMS.2.e — Organisation conducts electrical safety audits for the facility.

FMS.2 Record 5 — Electrical safety audit report

What is this record, in plain terms? A report of the electrical installation audit (earthing, residual-current protection, wet-area sockets, panel lockability) and any isolation-until-repaired action, separate from FMS.1.e's DG load test and FMS.3's device calibration.

A real example of when you'd use this An annual audit finds a missing ELCB on a wet-area circuit in the physiotherapy department; the circuit is isolated the same day until the ELCB is fitted and re-tested.

Why does NABH ask for this? NABH requires the organisation to conduct electrical safety audits for the facility -- an Achievement requirement checked against a recurring audit, not a one-time commissioning record.

How to fill this in — column by column

Date of Audit: Date the electrical safety audit was conducted.

Auditor: Named competent person or licensed contractor.

Scope Covered: Earthing, residual-current protection, wet-area sockets, panel labelling/lockability, isolated-power (OT), etc.

Fault Found: Any fault found, e.g. missing ELCB, damaged cord, unlabelled panel.

Isolated Until Repaired? (Y/N) and Date Repaired: Whether the faulty circuit was isolated, and when it was fixed.

Confirmed By: Named facilities lead.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

• Bureau of Indian Standards. (2016). National Building Code of India, 2016 (as the framework pointing to IS 732 wiring practice and IS 3043 earthing).

| Date of Audit | Auditor | Scope Covered | Fault Found | Isolated Until Repaired? (Y/N) and Date Repaired | Confirmed By |
| --- | --- | --- | --- | --- | --- |
| 15/03/2026 | Licensed electrical contractor «Name» | Earthing, RCD/ELCB, wet-area sockets, panel lockability | Missing ELCB, physiotherapy wet-area circuit | Y, isolated 15/03/2026; repaired and re-tested 17/03/2026 | Facilities Lead «Name» |