FMS.4.b — Medical gases are handled, stored, distributed and used in a safe manner.

FMS.4 Record 2 — Gas store and identity-check record

What is this record, in plain terms? A record of store checks (full/empty segregation, chaining, distance from heat/oil) and identity checks at the point of use -- the two moments where a mix-up actually causes harm.

A real example of when you'd use this A weekly store check finds one 'full' cylinder was actually empty and mis-racked; it is corrected and logged the same day.

Why does NABH ask for this? NABH requires safe handling, storage, distribution and use of medical gases -- a Core requirement checked against the store and the point of use, not just a written rule.

How to fill this in — column by column

Date of Check: Date the store or point-of-use check was performed.

Location: Gas store, theatre, ICU point of use, etc.

Full/Empty Segregated? (Y/N): Whether full and empty cylinders are correctly segregated.

Identity Check at Use Performed? (Y/N): Whether gas identity was checked before use, where applicable.

Defect Found: Any mix-up, forced connector, or storage violation found.

Confirmed By: Named engineering lead or clinical user.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

• Chrisman, M. (ASHE Management Monograph). Medical Gas Cylinder and Bulk Tank Storage, summarizing NFPA 99/101 requirements.

| Date of Check | Location | Full/Empty Segregated? (Y/N) | Identity Check at Use Performed? (Y/N) | Defect Found | Confirmed By |
| --- | --- | --- | --- | --- | --- |
| 11/02/2026 | Central gas store | N (one full cylinder mis-racked as empty) | N/A | Mis-racked cylinder corrected same day | Engineering Lead «Name» |