FMS.4.d — There is an operational, inspection, testing and maintenance plan for piped medical gas, compressed air and vacuum installation.

FMS.4 Record 4 — Piped MGPS operational, inspection, testing and maintenance file (or recorded absence)

What is this record, in plain terms? Where a piped medical-gas pipeline system (MGPS) exists, the file showing it was actually inspected, tested and maintained -- not just commissioned once. Where no piped system exists, a signed recorded absence against AAC.1. The chapter's second asterisked, documented-evidence record.

A real example of when you'd use this This hospital has a piped oxygen and vacuum system: the quarterly inspection confirms plant, alarms and terminal-unit labelling are all correct, and the entry is logged with the inspector's name.

Why does NABH ask for this? NABH asterisks this OE -- a Commitment requirement where the organisation must show an implemented plan if a piped system exists, or a genuine recorded absence if it does not -- never an invented pipeline SOP for a hospital with no pipeline.

How to fill this in — column by column

Date: Date of inspection/test/maintenance, or date of the recorded-absence sign-off.

Piped MGPS Present? (Y/N): Whether this hospital has a piped system at all.

Activity: Inspection / testing (pressure, identity, alarm) / maintenance (filters, dryers, pumps), or N/A if no MGPS.

Area/Plant Covered: Plant room, terminal units, specific zone.

Result: Pass/fail or finding; isolation-with-clinical-notice recorded if work was done on a live line.

Confirmed By: Named engineering lead (signs the recorded absence if no MGPS).

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

• Department of Health, Estates and Facilities Division. (2006). Medical Gas Pipeline Systems (HTM 02-01).

• International Organization for Standardization. (2018). Pressure regulators for use with medical gases (ISO 10524-2:2018).

| Date | Piped MGPS Present? (Y/N) | Activity | Area/Plant Covered | Result | Confirmed By |
| --- | --- | --- | --- | --- | --- |
| 01/03/2026 | Y | Quarterly inspection | Plant room, all terminal units | Pass — plant, alarms, labelling all correct | Engineering Lead «Name» |