HIC.6.a — The organisation provides adequate space and appropriate zoning for sterilisation activities.

HIC.6 Record 01 — CSSD zoning and environmental-monitoring record

What is this record, in plain terms? This record is the proof the three CSSD zones actually exist with the right pressure differentials and the sterile store's temperature and humidity were actually monitored -- not a layout that looks right but was never checked.

A real example of when you'd use this The February environmental check confirms the sterile store at 22°C and 65% relative humidity, within the defined limits, with zone pressure readings also within spec.

Why does NABH ask for this? A clean instrument that passes back through a dirty zone, even briefly, is no longer clean -- the zoning and one-way flow exist because contamination does not announce itself; it just happens quietly if the layout allows it.

How to fill this in — column by column

Check Date: When monitored.

Sterile Store Temp / Humidity: Readings.

Zone Pressure Readings: Dirty/clean/sterile differentials.

Within Spec (Y/N): Confirmed.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

• World Health Organization. (2016). Decontamination and reprocessing of medical devices for health-care facilities. Geneva: WHO -- the source of the cleaning-packing-sterilisation-storing-issue cycle this hospital's CSSD procedure is built on.

• National Accreditation Board for Hospitals and Healthcare Providers. (2022). Standards for Small Healthcare Organisations (3rd ed.). NABH SHCO Accreditation Programme page. Hospital Infection Control chapter, standard HIC.6.

| Check Date | Sterile Store Temp / Humidity | Zone Pressure Readings | Within Spec (Y/N) |
| --- | --- | --- | --- |
| WORKED EXAMPLE — 10-Feb-2026 | 22°C / 65% RH | Dirty negative, sterile positive — as specified | Y |