HIC.6.b — Cleaning, packing, disinfection and/or sterilisation, storing and the issue of items is done as per the written guidance.

HIC.6 Record 02 — Sterilisation load record

What is this record, in plain terms? This record is the proof every sterilisation cycle actually had its time, temperature and pressure recorded, and every pack actually carried its chemical indicators -- not a cycle run and assumed successful.

A real example of when you'd use this Load 14 on 12-March ran at 134°C for 4 minutes with a passed Class 5 integrator inside every pack and a Class 1 indicator outside, operator initials recorded.

Why does NABH ask for this? Skipping a step in this cycle -- an incomplete clean, a missing chemical indicator, an expired pack issued anyway -- can look identical to doing it right, right up until the moment the instrument is used on a patient.

How to fill this in — column by column

Load No. / Date: Which cycle, when.

Method / Time / Temperature / Pressure: Cycle parameters.

Chemical Indicator Result (Pass/Fail): Confirmed.

Operator: Who ran it.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

• World Health Organization. (2016). Decontamination and reprocessing of medical devices for health-care facilities. Geneva: WHO -- the source of the cleaning-packing-sterilisation-storing-issue cycle this hospital's CSSD procedure is built on.

• National Accreditation Board for Hospitals and Healthcare Providers. (2022). Standards for Small Healthcare Organisations (3rd ed.). NABH SHCO Accreditation Programme page. Hospital Infection Control chapter, standard HIC.6.

| Load No. / Date | Method / Time / Temperature / Pressure | Chemical Indicator Result (Pass/Fail) | Operator |
| --- | --- | --- | --- |
| WORKED EXAMPLE — Load 14 / 12-Mar-2026 | Steam / 134°C for 4 min | Pass | CSSD Technician K. Pillai |