HIC.6.c — Reprocessing of single-use instruments, equipment and devices are done as per written guidance.

HIC.6 Record 03 — Approved-for-reprocessing list and cycle-count tracking record

What is this record, in plain terms? This record is the proof reprocessing only ever happens to an item on the written approved list, and that each item's cycle count was actually tracked against its defined maximum -- not reprocessing done by habit without a limit.

A real example of when you'd use this A laparoscopic trocar on the approved list, maximum 5 cycles, is tracked at cycle 3 with functional testing passed, and withdrawn from service at cycle 5.

Why does NABH ask for this? A single-use device was designed and validated to be used once -- reprocessing one that was never approved for it, or reprocessing it beyond a safe number of cycles, risks the item failing or no longer being sterile when it matters most.

How to fill this in — column by column

Item / Approved (Y/N): On the ICC list or not.

Maximum Cycles Defined: Limit set.

Current Cycle Count: Running total.

Functional Test Result: Pass/fail at this cycle.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

• National Accreditation Board for Hospitals and Healthcare Providers. (2022). Standards for Small Healthcare Organisations (3rd ed.). NABH SHCO Accreditation Programme page. Hospital Infection Control chapter, standard HIC.6.

| Item / Approved (Y/N) | Maximum Cycles Defined | Current Cycle Count | Functional Test Result |
| --- | --- | --- | --- |
| WORKED EXAMPLE — Laparoscopic trocar / Y | 5 | 3 | Pass |