HIC.6.e — The established recall procedure is implemented when a breakdown in the sterilisation system is identified.

HIC.6 Record 05 — Sterilisation recall and re-qualification log

What is this record, in plain terms? This record is the proof a sterilisation failure actually triggered the full recall procedure -- quarantine, trace-back, patient-risk assessment and re-qualification -- not a failure that was noted and the steriliser simply restarted.

A real example of when you'd use this A failed biological indicator on Load 22 triggers quarantine of all items from that load; two items already issued to the OT are retrieved before use; root-cause investigation finds a loading error; the steriliser passes three consecutive empty-chamber BIs before resuming patient loads.

Why does NABH ask for this? The time between a sterilisation failure being discovered and items from that load being used on a patient is exactly the window the recall procedure exists to close -- the procedure has to already be written down, not improvised after the failure is found.

How to fill this in — column by column

Trigger / Date: What failed, when.

Affected Items / Trace-back: Load number and distribution.

Patient Impact Assessment: If any item was used.

Root Cause / Corrective Action: What caused it and what was fixed.

Re-qualification Result (3 Consecutive BIs): Before resuming patient loads.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

Where this requirement comes from (verified, clickable sources)

• National Accreditation Board for Hospitals and Healthcare Providers. (2022). Standards for Small Healthcare Organisations (3rd ed.). NABH SHCO Accreditation Programme page. Hospital Infection Control chapter, standard HIC.6.

| Trigger / Date | Affected Items / Trace-back | Patient Impact Assessment | Root Cause / Corrective Action | Re-qualification Result (3 Consecutive BIs) |
| --- | --- | --- | --- | --- |
| WORKED EXAMPLE — Failed BI, Load 22 / 18-Mar-2026 | 6 instrument sets; 2 already issued to OT, retrieved unused | No items used on a patient | Loading error; retraining on load configuration | Pass — 3 consecutive empty-chamber BIs, 22-Mar-2026 |