AAC.7.b — Internal quality control

AAC.7 Record 5 — Multi-Instrument Comparability Record

What is this record, in plain terms? Comparability records when more than one measuring system is used for the same test. Every time this happens for real, whoever is responsible adds one new row to the table below, filling in: Test, Instrument A Result, Instrument B Result, Comparable (Y/N). A worked example row is already filled in below (shaded) so you can see exactly what a completed entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this Whoever is responsible adds a new row the moment it genuinely happens — in this case, that means comparability records when more than one measuring system is used for the same test. The worked example below shows a real entry: test was “Glucose”, instrument b result was “112 mg/dL”, comparable (y/n) was “Yes” — so instrument a result was “110 mg/dL”.

Why does NABH ask for this? A test result nobody has checked for accuracy against a known standard can't be trusted, however confident it looks — this record is the proof the quality-control check actually happened and what it found.

How to fill this in — column by column

Test: Enter the actual test for this specific entry — real information from what actually happened, not a placeholder. The worked example row below shows 'Glucose' in this column, so you can see the level of detail expected — write your own real entry in that same style, not a copy of the example.

Instrument A Result: What was actually found or what happened as a result — write the real outcome, not just 'done' or 'ok' without detail. The worked example row below shows '110 mg/dL' in this column, so you can see the level of detail expected — write your own real entry in that same style, not a copy of the example.

Instrument B Result: What was actually found or what happened as a result — write the real outcome, not just 'done' or 'ok' without detail. The worked example row below shows '112 mg/dL' in this column, so you can see the level of detail expected — write your own real entry in that same style, not a copy of the example.

Comparable (Y/N): Answer honestly with what's actually true — Y or N. Don't default to Y without checking. The worked example row below shows 'Yes' in this column, so you can see the level of detail expected — write your own real entry in that same style, not a copy of the example.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Test | Instrument A Result | Instrument B Result | Comparable (Y/N) |
| --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |
| Glucose | 110 mg/dL | 112 mg/dL | Yes |