FMS.2.e — Alternate sources for electricity and water are provided as a backup for any failure / shortage.

FMS.2 Record 14 — Alternate sources for electricity and water are provided as a backup for any failure / shortage.

What is this record, in plain terms? This record is where you keep the proof for: “Electric-load calculation matching demand.” — the specific evidence element Alternate sources for electricity and water are provided as a backup for any failure / shortage. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Date, Calculated Load, Installed Capacity, Margin, Calculated By. A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this The Electrical Supervisor uses this record whenever a backup source is inventoried, its load calculated, or a continuity gap is acted on. The worked example below shows a real entry: on 05-Jan-2026, calculated load was “310 kVA (peak demand, all critical + general load)”, installed capacity was “400 kVA (DG + grid combined)”, margin was “+29% headroom”.

Why does NABH ask for this? A backup source that exists on paper but was never sized against real demand fails exactly when the primary source does — this record proves the backup can genuinely carry the load. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

How to fill this in — column by column

Date: The date this calculation was actually done or last revised.

Calculated Load: The real calculated peak load for the facility.

Installed Capacity: The actual installed capacity available to meet it.

Margin: The real margin between demand and capacity — a negative margin is a finding, not something to hide.

Calculated By: Who actually did the calculation.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Date | Calculated Load | Installed Capacity | Margin | Calculated By |
| --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |
| 05-Jan-2026 | 310 kVA (peak demand, all critical + general load) | 400 kVA (DG + grid combined) | +29% headroom | Electrical Consultant |