FMS.2.f — The organisation tests the functioning of these alternate sources at a predefined frequency.

FMS.2 Record 18 — The organisation tests the functioning of these alternate sources at a predefined frequency.

What is this record, in plain terms? This record is where you keep the proof for: “Corrective-action record for any failed alternate-source test.” — the specific evidence element The organisation tests the functioning of these alternate sources at a predefined frequency. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Date, Finding, Corrective/Preventive Action, Owner, Status. A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this The Electrical Supervisor uses this record whenever an alternate source is actually tested, at its defined frequency. The worked example below shows a real entry: on 15-Jan-2026, finding was “Emergency water tanker delivery took 45 minutes against a 30-minute target”, owner was “Facility Manager”, status was “Closed” — so corrective/preventive action was “Second vendor added to the approved list to shorten response”.

Why does NABH ask for this? A backup generator nobody has actually started in months is a backup in name only — this record proves it was tested for real, on schedule. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

How to fill this in — column by column

Date: The date this finding was actually made.

Finding: What was actually found — be specific.

Corrective/Preventive Action: What was actually done, or planned, to fix it and stop it recurring.

Owner: Who is accountable for this action.

Status: Open or Closed — keep this current.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Date | Finding | Corrective/Preventive Action | Owner | Status |
| --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |
| 15-Jan-2026 | Emergency water tanker delivery took 45 minutes against a 30-minute target | Second vendor added to the approved list to shorten response | Facility Manager | Closed |