FMS.5.g — There is monitoring of medical equipment and medical devices related to adverse events, and compliance hazard notices on recalls.

FMS.5 Record 21 — There is monitoring of medical equipment and medical devices related to adverse events, and compliance hazard notices on recalls.

What is this record, in plain terms? This record is where you keep the proof for: “Materiovigilance Programme of India participation record, where applicable.” — the specific evidence element There is monitoring of medical equipment and medical devices related to adverse events, and compliance hazard notices on recalls. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Date, Device, Adverse Event/Recall Notice, Source, Outcome. A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this The Biomedical Engineer uses this record whenever an adverse-event or recall notice is received, a device is withdrawn, or MvPI participation is logged. The worked example below shows a real entry: on 18-Jan-2026, device was “Not applicable — routine MvPI reporting period”, adverse event/recall notice was “Materiovigilance Programme of India (MvPI) quarterly return”, source was “Manufacturer / MvPI / Regulator” — so outcome was “Filed on time; no adverse events to report this quarter”.

Why does NABH ask for this? A recalled device left in clinical use because nobody was tracking manufacturer notices is exactly how a known fault reaches a patient — this record proves recalls are actually being monitored and acted on, including through MvPI. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

How to fill this in — column by column

Date: The actual date this was received or reported.

Device: The specific device — name model and, where relevant, its location.

Adverse Event/Recall Notice: What the real notice or adverse event actually said.

Source: Where this notice actually came from.

Outcome: What was actually done as a result.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Date | Device | Adverse Event/Recall Notice | Source | Outcome |
| --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |
| 18-Jan-2026 | Not applicable — routine MvPI reporting period | Materiovigilance Programme of India (MvPI) quarterly return | Manufacturer / MvPI / Regulator | Filed on time; no adverse events to report this quarter |