FMS.5.h — Downtime for critical equipment breakdown is monitored from reporting to inspection and implementation of corrective actions.

FMS.5 Record 24 — Downtime for critical equipment breakdown is monitored from reporting to inspection and implementation of corrective actions.

What is this record, in plain terms? This record is where you keep the proof for: “Alternative-equipment-use record where no backup device exists.” — the specific evidence element Downtime for critical equipment breakdown is monitored from reporting to inspection and implementation of corrective actions. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Equipment, Complaint Received, Job Allotted To, User-Ratified Completion, Downtime (hrs). A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this The Biomedical Engineer uses this record whenever critical medical equipment actually breaks down and is brought back into service. The worked example below shows a real entry: equipment was “Ventilator #VNT-014, ICU Bay 3”, complaint received was “14-Jan-2026, 09:10”, job allotted to was “Biomedical Engineer / OEM service engineer”.

Why does NABH ask for this? Critical medical equipment down for longer than anyone realises, with no backup device and nobody timing it, is exactly how a small fault becomes a patient-safety incident — this record makes the real downtime and any workaround visible. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

How to fill this in — column by column

Equipment: The specific equipment down — name it precisely.

Complaint Received: The actual date and time the complaint was received — not when work started.

Job Allotted To: Who the job was actually allotted to.

User-Ratified Completion: The date and time the user (not the technician) actually confirmed it was working again.

Downtime (hrs): The real downtime duration calculated from these two times — don't estimate it.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Equipment | Complaint Received | Job Allotted To | User-Ratified Completion | Downtime (hrs) |
| --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |
| Ventilator #VNT-014, ICU Bay 3 | 14-Jan-2026, 09:10 | Biomedical Engineer / OEM service engineer | 14-Jan-2026, 14:40 | 5.5 |