FMS.6.b — Medical gases are handled, stored, distributed and used in a safe manner.

FMS.6 Record 6 — Medical gases are handled, stored, distributed and used in a safe manner.

What is this record, in plain terms? This record is where you keep the proof for: “Pin-indexed outlet and automatic-changeover verification record.” — the specific evidence element Medical gases are handled, stored, distributed and used in a safe manner. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Date, Item Verified, Verification Method, Result, Verified By. A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this The Biomedical Engineer uses this record whenever the gas/pipeline inventory is checked, an alarm event is monitored, or an outlet is verified. The worked example below shows a real entry: on 20-Jan-2026, item verified was “Pin-indexed oxygen outlet, OT-1 + auto-changeover unit”, verification method was “Physical fit-check + simulated source failure”, verified by was “Biomedical Engineer” — so result was “Correct pin-index confirmed; changeover completed in under 1 second”.

Why does NABH ask for this? A medical-gas system with no real 24x7 alarm monitoring or verified pin-indexing is a silent failure waiting to happen at the bedside — this record proves the safeguards actually work, not just that they were installed once. This is a CORE requirement — NABH treats it as non-negotiable, not aspirational.

How to fill this in — column by column

Date: The actual date verified.

Item Verified: The specific item — name it and its location.

Verification Method: How it was actually verified — a real method, not 'checked.'

Result: The real result.

Verified By: Who actually did it.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Date | Item Verified | Verification Method | Result | Verified By |
| --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |
| 20-Jan-2026 | Pin-indexed oxygen outlet, OT-1 + auto-changeover unit | Physical fit-check + simulated source failure | Correct pin-index confirmed; changeover completed in under 1 second | Biomedical Engineer |