FMS.6.c — There is an operational, inspection, testing and maintenance plan for piped medical gas, compressed air and vacuum installation.

FMS.6 Record 9 — There is an operational, inspection, testing and maintenance plan for piped medical gas, compressed air and vacuum installation.

What is this record, in plain terms? This record is where you keep the proof for: “Manufacturer-following maintenance log.” — the specific evidence element There is an operational, inspection, testing and maintenance plan for piped medical gas, compressed air and vacuum installation. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Date, Equipment/System, Maintenance/Inspection Performed, Result/Status, Next Due, Responsible Person, Verified By. A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this The Biomedical Engineer uses this record whenever the piped-gas maintenance plan is written or followed, or a real purity test is done. The worked example below shows a real entry: on 18-Jan-2026, equipment/system was “Oxygen manifold, Central Gas Plant Room”, maintenance/inspection performed was “Manufacturer-schedule inspection — regulator, valve seat and pressure-relief check”, next due was “18-Apr-2026” — so result/status was “Pass — within manufacturer tolerance”.

Why does NABH ask for this? Compressed air that's never actually tested for purity can be delivered straight to a ventilated patient — this record proves the real test happened, at the real terminal outlets that matter. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

How to fill this in — column by column

Date: The date the maintenance or inspection actually happened — not the scheduled date if it slipped.

Equipment/System: The exact equipment or system worked on — name it and its location.

Maintenance/Inspection Performed: What was actually done — the real task performed, not 'maintenance done.'

Result/Status: The real result — pass, or what was found and corrected.

Next Due: When this item is next due.

Responsible Person: Who actually carried out the work.

Verified By: Who checked and signed off that the work was actually done.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Date | Equipment/System | Maintenance/Inspection Performed | Result/Status | Next Due | Responsible Person | Verified By |
| --- | --- | --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |  |  |
| 18-Jan-2026 | Oxygen manifold, Central Gas Plant Room | Manufacturer-schedule inspection — regulator, valve seat and pressure-relief check | Pass — within manufacturer tolerance | 18-Apr-2026 | Facility Engineer | Engineering In-Charge |