FMS.6.d — Alternate sources for medical gases, vacuum and compressed air are provided for, in case of failure.

FMS.6 Record 12 — Alternate sources for medical gases, vacuum and compressed air are provided for, in case of failure.

What is this record, in plain terms? This record is where you keep the proof for: “Alternate-source readiness confirmation log.” — the specific evidence element Alternate sources for medical gases, vacuum and compressed air are provided for, in case of failure. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Date, Alternate Source, Readiness Check Result, Checked By. A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this The Facility Engineer uses this record whenever a standby gas/vacuum source is inventoried, changeover-tested, or its readiness confirmed. The worked example below shows a real entry: on 15-Jan-2026, alternate source was “Standby vacuum pump”, checked by was “Facility Engineer” — so readiness check result was “Started on demand; reached rated vacuum in 40 seconds”.

Why does NABH ask for this? A standby gas or vacuum source that's never actually tested for readiness is a backup in name only — this record proves it genuinely works on demand. This is a CORE requirement — NABH treats it as non-negotiable, not aspirational.

How to fill this in — column by column

Date: The actual date checked.

Alternate Source: The specific alternate source — name it.

Readiness Check Result: What was actually found — a real result, not 'OK.'

Checked By: Who actually checked it.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Date | Alternate Source | Readiness Check Result | Checked By |
| --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |
| 15-Jan-2026 | Standby vacuum pump | Started on demand; reached rated vacuum in 40 seconds | Facility Engineer |