FMS.7.c — The organisation has a documented and displayed exit plan in case of fire and non-fire emergencies.

FMS.7 Record 8 — The organisation has a documented and displayed exit plan in case of fire and non-fire emergencies.

What is this record, in plain terms? This record is where you keep the proof for: “Exit-door check record (open or push-bar) and fire-signage reference (fire service or National Building Code).” — the specific evidence element The organisation has a documented and displayed exit plan in case of fire and non-fire emergencies. of this policy asks for. Every time this happens for real, whoever is responsible adds one new row below with: Location, Door Type/Mechanism Confirmed, Signage Reference, Date Checked, Checked By. A worked example row is already filled in below (shaded) so you can see exactly what a completed real entry looks like — replace it, or add your own rows below it, but don't leave the example mixed in with real data.

A real example of when you'd use this The Facility Manager uses this record whenever the exit plan/exit doors/refuge-area signage are actually checked in place. The worked example below shows a real entry: on 20-Jan-2026, location was “Fire exit, 2nd floor east wing”, door type/mechanism confirmed was “Push-bar, opens outward, unobstructed”, signage reference was “Fire-service norms / National Building Code compliant”.

Why does NABH ask for this? An exit plan that isn't actually displayed, or a fire door that doesn't actually open the way it's supposed to, is discovered only during a real emergency — this record proves it was genuinely checked in place. NABH checks this as part of how a genuinely safe physical environment actually runs, not just what's written about it.

How to fill this in — column by column

Location: The real exit door location.

Door Type/Mechanism Confirmed: What was actually confirmed about how it opens.

Signage Reference: The signage standard it was actually checked against.

Date Checked: The date actually checked.

Checked By: Who actually checked it.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Location | Door Type/Mechanism Confirmed | Signage Reference | Date Checked | Checked By |
| --- | --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |  |
| Fire exit, 2nd floor east wing | Push-bar, opens outward, unobstructed | Fire-service norms / National Building Code compliant | 20-Jan-2026 | Facility Manager |