IPC.7.e — Recall procedure

IPC.7 Record 17 — Recall procedure

What is this record, in plain terms? This record is where you keep the proof for: “Annual mock recall exercise record with findings and any CAPA.” — the specific evidence element IPC.7.e (Commitment*) of this policy asks for. Every time this activity actually happens, whoever did it adds one new row below with: Date of Mock Recall, Scenario Simulated, Findings, CAPA (if any). A worked example row is already filled in (shaded) below the header, so you can see exactly what a completed real entry looks like — don't leave that example row mixed in with real data once you start using this record.

A real example of when you'd use this Whoever runs it logs a new entry the moment a real recall — mock or actual — is actually carried out. The worked example below shows a real entry: on 15-Mar-2026, scenario simulated was “Simulated failed biological indicator on a general-surgery instrument load”, findings was “All affected items traced and retrieved within 45 minutes”, capa (if any) was “None — retrieval time met target”.

Why does NABH ask for this? If a sterilisation cycle is later found to have failed, every item from that load may already be in use on a real patient. This record proves the hospital can actually trace and retrieve those specific items quickly — not just that a recall procedure exists somewhere in a binder. This is a Commitment-level requirement — NABH expects the hospital to be actively working toward and evidencing it, not just planning to.

How to fill this in — column by column

Date of Mock Recall: The date the mock recall was actually run — at least once a year.

Scenario Simulated: What failure was actually simulated.

Findings: What the exercise actually found, including anything slow or missed.

CAPA (if any): If something needs fixing, the CAPA reference; if not, say so.

The first data row below (shaded yellow, and marked WORKED EXAMPLE in the row itself) is a worked example already filled in correctly. Delete it or overwrite it once you start using this record for real — don't leave the example row mixed in with real entries. Add more blank rows as needed; don't create a second copy of this file.

| Date of Mock Recall | Scenario Simulated | Findings | CAPA (if any) |
| --- | --- | --- | --- |
| WORKED EXAMPLE — TRAINING ONLY — NOT AN ACTUAL HOSPITAL RECORD |  |  |  |
| 15-Mar-2026 | Simulated failed biological indicator on a general-surgery instrument load | All affected items traced and retrieved within 45 minutes | None — retrieval time met target |