«Hospital Name»

Safe Transfusion Services

HCO Full Accreditation, 6th Edition — COP.8.

# Document control

« » marks an editable default a small hospital can adopt. «________» is a true blank and must be completed before issue.

| Document No. | «HCO/COP/POL/08» | Version | 2.0 |
| --- | --- | --- | --- |
| Issue No. | «01» | Review due | «one year from implementation» |
| Date created | «________» | Date of implementation | «________» |
| Prepared by | «Transfusion / Blood Bank In-Charge» Name «________» | Signature | «________» |
| Reviewed by | «Quality Coordinator» Name «________» | Signature | «________» |
| Approved by | «Medical Superintendent» Name «________» | Signature | «________» |

# Statement of intent

Transfusion services are provided as per the scope of services of the organisation, safely.

# 1. Purpose

This policy says how «Hospital Name» meets NABH Hospitals 6th Edition standard COP.8: Transfusion services are provided as per the scope of services of the organisation, safely.

It covers objective elements COP.8.a–g (7 elements).

This policy owns COP.8. Related AAC, PRE, IPC/HIC, HRM and MOM duties stay with those policies — cross-reference only.

Words marked «like this» are defaults. A blank marked «________» must be filled before issue.

# 2. Scope

This policy applies to staff who deliver or oversee the care described in COP.8 at «Hospital Name», including the «Transfusion / Blood Bank In-Charge», treating doctors, nurses and the Quality Coordinator.

It covers 7 objective elements (COP.8.a, COP.8.b, COP.8.c, COP.8.d, COP.8.e, COP.8.f, COP.8.g).

Boundaries: do not copy SHCO COP wording. Do not overwrite AAC policies. Spell out abbreviations on first use in training materials.

# 3. Policy standards

«Hospital Name» implements COP.8 so that transfusion services are provided as per the scope of services of the organisation, safely..

Staff follow written guidance, keep the records listed in the OE table, and escalate when stop-work triggers fire (if this policy includes a stop-work section).

# 4. Non-negotiable rules

1. Do not skip: Scope of transfusion services is commensurate with the services provided by the organisation.

2. Do not skip: The organisation shall establish and implement processes for blood / component collection, testing, storage...

3. Do not skip: Blood and components are stored safely from the time of collection till transfusion.

4. Do not skip: The organisation ensures safe and rational use of blood and blood components.

5. Do not skip: Blood / blood components are available for use in emergency and routine situations within a defined time-fr...

6. Do not skip: The organisation shall ensure that post-transfusion form is collected, reactions if any identified and are ...

7. Do not skip: The organisation shall implement a quality assurance programme.

8. Do not bypass the stop-work authority in section 6 when the trigger conditions are met.

9. Staff who see a COP.8 rule broken report it the same shift to the «department in-charge» or the «Medical Superintendent».

# 5. What we do

## 5.1 Scope of transfusion services is commensurate with the services provi..

Scope of transfusion services is commensurate with the services provided by the organisation.

Staff follow the written guidance and record the action in the medical record or the department register named for this element.

## 5.2 The organisation shall establish and implement processes for blood / ..

The organisation shall establish and implement processes for blood / component collection, testing, storage and distribution under written guidance.

Method note (from guidebook interpretation): The mechanism for identification of patients shall be uniform

## 5.3 Blood and components are stored safely from the time of collection ti..

Blood and components are stored safely from the time of collection till transfusion.

Staff follow the written guidance and record the action in the medical record or the department register named for this element.

## 5.4 The organisation ensures safe and rational use of blood and blood com..

The organisation ensures safe and rational use of blood and blood components.

Method note (from guidebook interpretation): Clinical care pathways shall be multidisciplinary, and based on

This is a CORE objective element — non-compliance is not acceptable for accreditation.

## 5.5 Blood / blood components are available for use in emergency and routi..

Blood / blood components are available for use in emergency and routine situations within a defined time-frame.

Method note (from guidebook interpretation): Whenever the patient's clinical condition warrants care from

## 5.6 The organisation shall ensure that post-transfusion form is collected..

The organisation shall ensure that post-transfusion form is collected, reactions if any identified and are analysed for preventive and corrective actions.

Method note (from guidebook interpretation): Whenever the telemedicine facility is provided, the organisation

## 5.7 The organisation shall implement a quality assurance programme

The organisation shall implement a quality assurance programme.

Method note (from guidebook interpretation): The identified area to treat emergency patients shall be easily

# 6. Stop-work authority

Do not start transfusion of blood or blood components when patient identification (minimum two identifiers) is incomplete, compatibility checks are missing, or required informed consent has not been obtained (except where emergency transfusion rules documented by the organisation apply).

Stop-work applies to the transfusion start. Life-saving emergency transfusion follows the organisation's emergency-transfusion written guidance and is documented.

The person who stops tells the «Transfusion / Blood Bank In-Charge» and the «treating doctor» the same shift. Refusing an unsafe transfusion is not a disciplinary matter.

# 7. Governance and responsibility

- Medical Superintendent

- Accountable that COP.8 is resourced and followed.

- Transfusion / Blood Bank In-Charge

- Owns day-to-day implementation and records for this standard.

- Treating doctors / nurses / technicians (as applicable)

- Deliver care as written; escalate stop-work triggers without delay.

- Quality Coordinator

- Audits this policy «quarterly»; holds training acknowledgements.

# 8. Quality monitoring (RCA → CAPA)

The Quality Coordinator audits this policy «quarterly».

What is monitored each quarter:

- Sample of records for each OE COP.8.a–g.

- Asterisked elements (bdefg) have document evidence as required.

- CORE elements (d) show no critical gaps in the sample.

- Stop-work events (if any) are logged with outcome.

This policy is reviewed «annually», and sooner after a related adverse event.

# 9. Training and staff acknowledgement

Staff covered by this policy are trained at induction and «once a year» after that. Training covers the What-we-do steps, non-negotiables and stop-work (if present).

Staff acknowledgement

I have read this Safe Transfusion Services policy of «Hospital Name». I will follow the processes described.

Name: ___________________________    Designation: ___________________________

Department / floor: ____________________    Date: ____________

Signature: ___________________________

(One row per staff member. The Quality Coordinator holds signed acknowledgements with the induction record.)

| Name | Designation | Department / floor | Date | Signature |
| --- | --- | --- | --- | --- |

The Quality Coordinator holds signed acknowledgements with the induction record.

# 10. References

- National Accreditation Board for Hospitals and Healthcare Providers (NABH), Accreditation Standards for Hospitals, 6th Edition (January 2025) — Care of Patients, standard COP.8.

- NABH Guidebook to Accreditation Standards for Hospitals, 6th Edition — COP.8 interpretations (source PDF md5 2c4489ee98de4ae9b49cba168ea9f42a).

- Internal documents of «Hospital Name»: written guidance and registers named for COP.8.

# 11. Distribution

Medical Superintendent; Transfusion / Blood Bank In-Charge; Quality Coordinator; department clinical staff covered by COP.8

# 12. Abbreviations

COP — Care of Patients (NABH Hospitals chapter)
NABH — National Accreditation Board for Hospitals and Healthcare Providers
OE — Objective Element
CORE — Core objective element (NABH)
RCA — Root Cause Analysis
CAPA — Corrective and Preventive Action

# 13. Traceability to NABH HCO Full Accreditation 6th Edition COP.8

This table is an index. It is not how the policy is organised.

| OE | Requirement | Where this policy addresses it | Responsible |
| --- | --- | --- | --- |
| COP.8.a | Scope of transfusion services is commensurate with the services provided by the organisation. | Section 3; 5.1; Section 6 Stop-work | Transfusion / Blood Bank In-Charge |
| COP.8.b | The organisation shall establish and implement processes for blood / component collection, testing, storage and distribution under written guidance. | Section 3; 5.2; Section 6 Stop-work | Transfusion / Blood Bank In-Charge |
| COP.8.c | Blood and components are stored safely from the time of collection till transfusion. | Section 3; 5.3; Section 6 Stop-work | Transfusion / Blood Bank In-Charge |
| COP.8.d | The organisation ensures safe and rational use of blood and blood components. | Section 3; 5.4 | Transfusion / Blood Bank In-Charge |
| COP.8.e | Blood / blood components are available for use in emergency and routine situations within a defined time-frame. | Section 3; 5.5 | Transfusion / Blood Bank In-Charge |
| COP.8.f | The organisation shall ensure that post-transfusion form is collected, reactions if any identified and are analysed for preventive and corrective actions. | Section 3; 5.6 | Transfusion / Blood Bank In-Charge |
| COP.8.g | The organisation shall implement a quality assurance programme. | Section 3; 5.7 | Transfusion / Blood Bank In-Charge |

# 14. Required Records / Evidence Checklist

Records the hospital holds under this policy, listed by objective element.

## COP.8.a — Scope of transfusion services is commensurate with the services provided by the organisation.

- Records showing COP.8.a was followed for sampled patients/cases.

- Written guidance / protocol referenced for this element (where required).

- Audit sample notes for COP.8.a reviewed «quarterly».

## COP.8.b — The organisation shall establish and implement processes for blood / component collection, testing, storage and distribution under written guidance.

- Records showing COP.8.b was followed for sampled patients/cases.

- Written guidance / protocol referenced for this element (where required).

- Audit sample notes for COP.8.b reviewed «quarterly».

- Documented evidence specifically required by the asterisked interpretation.

## COP.8.c — Blood and components are stored safely from the time of collection till transfusion.

- Records showing COP.8.c was followed for sampled patients/cases.

- Written guidance / protocol referenced for this element (where required).

- Audit sample notes for COP.8.c reviewed «quarterly».

## COP.8.d — The organisation ensures safe and rational use of blood and blood components.

- Records showing COP.8.d was followed for sampled patients/cases.

- Written guidance / protocol referenced for this element (where required).

- Audit sample notes for COP.8.d reviewed «quarterly».

- Documented evidence specifically required by the asterisked interpretation.

## COP.8.e — Blood / blood components are available for use in emergency and routine situations within a defined time-frame.

- Records showing COP.8.e was followed for sampled patients/cases.

- Written guidance / protocol referenced for this element (where required).

- Audit sample notes for COP.8.e reviewed «quarterly».

- Documented evidence specifically required by the asterisked interpretation.

## COP.8.f — The organisation shall ensure that post-transfusion form is collected, reactions if any identified and are analysed for preventive and corrective actions.

- Records showing COP.8.f was followed for sampled patients/cases.

- Written guidance / protocol referenced for this element (where required).

- Audit sample notes for COP.8.f reviewed «quarterly».

- Documented evidence specifically required by the asterisked interpretation.

## COP.8.g — The organisation shall implement a quality assurance programme.

- Records showing COP.8.g was followed for sampled patients/cases.

- Written guidance / protocol referenced for this element (where required).

- Audit sample notes for COP.8.g reviewed «quarterly».

- Documented evidence specifically required by the asterisked interpretation.

# Disclaimer

This document is a template prepared for the guidance of «Hospital Name» and must be reviewed, adapted and formally approved by «Hospital Name» before use. Every entry marked [Hospital to define] must be replaced with the hospital's own decision; a document issued with those markers left in place is not an approved policy.

Several requirements in this document are statutory rather than advisory — in particular those arising under applicable laws and regulations for transfusion services as named in NABH COP.8. Statutory requirements change, and State authorities impose additional or stricter conditions. «Hospital Name» is responsible for verifying the current text of any rule cited here and the conditions attached to its own authorisations and licences; this document does not constitute legal advice.

The clinical and technical content reflects recognised national and international guidance current at the date of preparation. «Hospital Name» remains responsible for verifying that it is current and consistent with the edition of the accreditation standard against which it is being assessed.

This document is not issued by, endorsed by, or affiliated with NABH, the World Health Organization, the National Centre for Disease Control, the Food Safety and Standards Authority of India, any Pollution Control Board, or any other body named in it. Wording is original; no text has been reproduced from the standards, rules or guidelines referenced.