Standard Operating Procedure

Specimen Collection, Handling, Transport, Reporting and Disposal

«Hospital Name» — Supports AAC.6.e, AAC.6.f, AAC.6.h, AAC.6.j

Why does this SOP exist? (read this first if you're new) This SOP describes how «Hospital Name» handles a laboratory specimen from requisition through to disposal, produces standardised reports within defined turnaround time, and manages outsourced testing safely. If you're new to this SOP, the short version is: follow the numbered steps below in order — they exist because skipping one of them is exactly how a real gap or a real patient-safety problem happens, not because NABH likes paperwork for its own sake.

| SOP No. | [Hospital to define] | Version | 1.0 |
| --- | --- | --- | --- |
| Effective Date | ________ | Review Frequency | Annual, or on change |
| Prepared By | Quality Coordinator Name: ________ Signature: ________ |  |  |
| Approved By | Medical Superintendent Name: ________ Signature: ________ |  |  |

# 1. Purpose

This SOP describes how «Hospital Name» handles a laboratory specimen from requisition through to disposal, produces standardised reports within defined turnaround time, and manages outsourced testing safely.

# 2. Scope

Applies to laboratory staff, nurses who collect or transport specimens, and treating doctors who requisition tests.

# 3. Responsibility

Requisitioning Doctor: orders the correct test with adequate clinical information.

Collecting Staff (nurse/phlebotomist): verifies two identifiers, labels correctly, and follows written collection guidance.

Laboratory In-Charge: defines TAT per test and monitors compliance.

# 4. Procedure

## 4.1 Requisition and collection

Why this step matters: A specimen collected against an unclear requisition, or without checking patient identifiers twice, risks a result reported against the wrong patient.

1. Confirm the requisition names the correct test and carries adequate clinical information.

2. Check two patient identifiers before collection, and again at laboratory receipt.

3. Label the specimen with the patient's unique identification number immediately at collection — never label after the fact.

4. Reject any specimen that is unlabelled, mislabelled, haemolysed, clotted, or insufficient, and log it in the Specimen Rejection Log with the reason.

Technical source(s) for these steps:

Clinical and Laboratory Standards Institute. (n.d.). PRE02: Collection of diagnostic venous blood specimens (8th ed.).

Note: CLSI PRE02 is cited for collection technique only. NABH does not mandate this specific guideline — ISO 15189 (the standard NABL accreditation is based on) and the hospital’s own validated collection procedure are equally acceptable.

## 4.2 Transport and processing

Why this step matters: A specimen transported or processed outside its required condition can degrade before it's even tested, making the result meaningless.

1. Transport specimens per the written guidance for that specimen type, maintaining any required temperature or handling condition.

2. Process within the turnaround time defined for that specific test (per Record 16 — Defined TAT by Test Category). If a delay is likely, inform the requisitioning doctor.

Technical source(s) for these steps:

Clinical and Laboratory Standards Institute. (n.d.). PRE02: Collection of diagnostic venous blood specimens (8th ed.).

Note: CLSI PRE02 is cited for collection technique only. NABH does not mandate this specific guideline — ISO 15189 (the standard NABL accreditation is based on) and the hospital’s own validated collection procedure are equally acceptable.

## 4.3 Turnaround time monitoring

Why this step matters: A rule that's never actually monitored tends to quietly stop being followed, without anyone deciding that on purpose.

1. Monitor TAT continuously against the defined time for each test category. This hospital's continuous-monitoring approach is adapted from the College of American Pathologists (CAP) Q-TRACKS quality indicator monitoring programme — see Section 8, Reference 1.

2. Escalate any persistent TAT breach to the Laboratory In-Charge and log the reason and corrective action.

Technical source(s) for these steps:

College of American Pathologists. (n.d.). Q-Tracks: A College of American Pathologists program of continuous laboratory monitoring and longitudinal performance tracking.

Note: CAP Q-TRACKS is cited as one example of a structured TAT-monitoring programme, not as a mandated external benchmark. NABL-accredited laboratories run equivalent indicator monitoring under ISO 15189; either approach satisfies this requirement.

## 4.4 Standardised reporting

Why this step matters: Delaying escalation on something urgent is often worse than the original problem.

1. Every report includes, at minimum: organisation name (or outsourced lab name), patient name, unique identification number, and authorised signatory.

2. Never alter or modify the content of an outsourced report. If issued on this hospital's letterhead, add the outsourced laboratory's name, date, and reference number without changing the result itself.

## 4.5 Outsourced tests

Why this step matters: Outsourcing to a lab without a documented quality system means the hospital has no way to vouch for a result it didn't generate itself.

1. Outsource only to a laboratory with a documented quality assurance system and a current MoU with this hospital — preferably one accredited by NABL (National Accreditation Board for Testing and Calibration Laboratories) under ISO 15189.

2. Follow the written outsourcing guidance for packaging, labelling, and transport of specimens sent out.

3. Review outsourced laboratory performance at least annually.

## 4.6 Disposal

Why this step matters: Laboratory waste handled outside the hospital's infection-control procedures is a route for exposure that has nothing to do with the test result itself.

1. Segregate and hand over laboratory waste per the hospital's infection-control / biomedical-waste documents — this SOP does not restate those statutory duties, only requires that they are followed.

# 5. Records

Supported by Records 1, 3, and 13–30 of the AAC.6 Required Records pack.

# 6. Related Documents

Policy on Laboratory Services (HCO/AAC/POL/06) — AAC.6 policy

Hospital infection-control / biomedical-waste management documents

# 7. Where This SOP's Requirements Come From (Verified Sources)

National Accreditation Board for Hospitals and Healthcare Providers. (2025). NABH accreditation standards for hospitals (6th ed.). ISBN 978-81-965264-9-8.

CAP — Q-TRACKS Quality Indicator Monitoring Programme — named source, no working link could be verified from here; check directly.

# 8. Review

Reviewed annually, or sooner when clinical scope, equipment, or outsourcing arrangements change.