Standard Operating Procedure

Legal Compliance for Imaging Equipment and Stop-Work

«Hospital Name» — Supports AAC.8.a

Why does this SOP exist? (read this first if you're new) This SOP describes how «Hospital Name» keeps every radiation-emitting and PC-PNDT-covered imaging modality legally compliant, and what staff must do — including stopping the examination — when a required legal clearance is missing. If you're new to this SOP, the short version is: follow the numbered steps below in order — they exist because skipping one of them is exactly how a real gap or a real patient-safety problem happens, not because NABH likes paperwork for its own sake.

| SOP No. | [Hospital to define] | Version | 1.0 |
| --- | --- | --- | --- |
| Effective Date | ________ | Review Frequency | Annual, or on change |
| Prepared By | Quality Coordinator Name: ________ Signature: ________ |  |  |
| Approved By | Medical Superintendent Name: ________ Signature: ________ |  |  |

# 1. Purpose

This SOP describes how «Hospital Name» keeps every radiation-emitting and PC-PNDT-covered imaging modality legally compliant, and what staff must do — including stopping the examination — when a required legal clearance is missing.

# 2. Scope

Applies to every radiation-emitting imaging modality (requiring AERB clearance) and every ultrasound modality covered by PC-PNDT registration.

# 3. Responsibility

Radiation Safety Officer (RSO): tracks AERB clearance, dosimeter status, and lead-protection compliance.

Imaging In-Charge: tracks PC-PNDT registration, displays, and reporting obligations.

Any Imaging Staff Member: has the authority — and the duty — to stop an examination when required compliance is missing.

# 4. Procedure

Why this step matters: Operating radiation equipment on an expired clearance, or without a valid RSO, is both a patient and a regulatory exposure the hospital carries every shift it goes unchecked.

1. Before every shift, confirm AERB clearance is current for every radiation-emitting modality in use, and that the named RSO's appointment is current. AERB clearance requirements derive from the Atomic Energy (Radiation Protection) Rules, 2004 — see Section 9, Reference 1.

2. Confirm PC-PNDT registration, required displays, and reporting to the competent authority are current for every covered ultrasound modality, per the Pre-Conception and Pre-Natal Diagnostic Techniques (Prohibition of Sex Selection) Act, 1994 — see Section 9, Reference 2.

3. Initiate renewal of any clearance well in advance of its expiry — track expiry dates in the Legal Compliance Status Update Log.

4. Never use equipment when its clearance has lapsed, regardless of clinical urgency for a non-emergency case.

Technical source(s) for these steps:

Atomic Energy Regulatory Board, Government of India. (2004). Atomic Energy (Radiation Protection) Rules, 2004.

Government of India. (1994). Pre-Conception and Pre-Natal Diagnostic Techniques (Prohibition of Sex Selection) Act, 1994.

# 5. Stop-Work Authority

Any staff member covered by this SOP has the explicit right to pause or refuse to proceed with an unsafe step described below — this is not a disciplinary matter, even if it later turns out the step would have been fine.

Do not scan or expose a patient when required legal compliance for the modality is missing — AERB clearance and RSO cover for radiation equipment; PC-PNDT registration and displays for covered ultrasound. Do not use radiation-emitting equipment when mandatory personnel monitoring (dosimeter/TLD) or required lead protection for the examination is unavailable. Stop-work applies to the imaging examination only — it does not block emergency clinical stabilisation outside the imaging room. The person who stops tells the Imaging In-Charge or the Radiation Safety Officer the same shift, and the Medical Superintendent if legal clearance is the barrier. Refusing to scan without required checks is not a disciplinary matter.

# 6. Records

Supported by Records 1–3 of the AAC.8 Required Records pack.

# 7. Related Documents

Policy on Imaging Services (HCO/AAC/POL/08) — AAC.8 policy

# 8. Where This SOP's Requirements Come From (Verified Sources)

National Accreditation Board for Hospitals and Healthcare Providers. (2025). NABH accreditation standards for hospitals (6th ed.). ISBN 978-81-965264-9-8.

Atomic Energy Regulatory Board, Government of India — Atomic Energy (Radiation Protection) Rules, 2004

Government of India — Pre-Conception and Pre-Natal Diagnostic Techniques (Prohibition of Sex Selection) Act, 1994 — named source, no working link could be verified from here; check directly.

# 9. Review

Reviewed annually, or sooner when equipment, modalities, or legal registrations change.